# PUAOPE010 Operate an automated external defibrillator in an emergency

Release: 2

PUAOPE010 Operate an automated external defibrillator in an emergency

# Modification History

Release 2. Updated superseded HLT Pre-requisite unit. Release 1. This is the first release of this unit of competency in the Public Safety Training Package.

# Application

This unit of competency involves the skills and knowledge required to treat a casualty using an Automated External Defibrillator (AED) to defibrillate at an emergency, including the before and after procedures. It will include using techniques for the administration of an AED according to industry standards and regulatory body guidelines and following AED medically endorsed protocols which may involve working with or without other personnel whilst engaged in the resuscitation. The unit is applicable to personnel who will be assessing casualty and develop management plans, checking equipment, attaching and operating equipment and recovering and restoring equipment. It is appropriate for personnel from emergency services and/or organisations that provide a medically supervised first aid service. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

HLTAID011 Provide First Aid

# Competency Field

Operations

# Unit Sector

Public Safety

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Check equipment | 1.1 | Pre-use check of safety and effectiveness of equipment is undertaken, in accordance with organisational procedures and manufactures’ instructions |
|  |  | 1.2 | Minor faults are diagnosed and repairs are carried out to restore equipment to working order, in accordance with organisational procedures and manufactures’ instructions |
|  |  | 1.3 | Faults and defects are reported and recorded, in accordance with organisational procedures and manufactures’ instructions |
| 2 | Attach and operate equipment | 2.1 | Equipment is set up, in accordance with organisational procedures and manufacturers’ instructions |
|  |  | 2.2 | Automated External Defibrillator (AED) is attached and operated according to manufacturers’ guidelines and safety procedures |
|  |  | 2.3 | Work is undertaken cooperatively with whilst conducting resuscitation techniques using an AED |
| 3 | Recover and restore equipment | 3.1 | Equipment is disinfected or discarded, in accordance with organisational procedures and manufacturers’ guidelines |
|  |  | 3.2 | Equipment is charged, stored and safeguarded against damage or loss, in accordance with organisational procedures and manufacturers’ guidelines |
|  |  | 3.3 | Reports are completed and submitted to appropriate personnel |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to PUAOPE010C Operate an automated external defibrillator in an emergency.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf