# PUAFIR206B Check installed fire safety systems

Release 3

PUAFIR206B Check installed fire safety systems

# Modification History

| Release | TP Version | Comments |
| --- | --- | --- |
| 2 | PUA12 V2 | Content reviewed Application of the Unit added Unit revised to reflect current work requirements Method of assessment added |
| 1 | PUA00 V8.1 | Primary release on TGA |

# Unit Descriptor

This unit covers the competency required to locate, identify and check the status of fire safety systems, while predominantly under direct supervision.

No licensing, legislative, regulatory or certification requirements apply to this unit at the time of publication.

# Application of the Unit

This unit applies to personnel required to locate, identify and check the status of fire safety systems. Work at this level is undertaken under direct supervision and instruction.

The installation of fire safety systems is required under the Building Code of Australia and implemented through state and territory building regulations.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a Unit of Competency. | Performance Criteria describe the required performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the Range Statement. Assessment of performance is to be consistent with the Evidence Guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Locate and identify fire safety systems | 1.1 Fire safety systems are identified and located in buildings. 1.2 Onsite visual identification of fire safety systems and mode of operation is confirmed and reported to supervisor. |
| 2. Check and monitor the status of fire safety systems | 2.1 Fire safety systems are checked in accordance with organisational procedures. 2.2 Status of fire safety systems is monitored, irregularities such as faults and isolation of individual functions are identified and reported in accordance with organisational procedures. |

# Required Skills and Knowledge

This describes the essential skills and knowledge and their level, required for this unit.

Required Skills

apply organisational procedures check the status of various fire safety systems identify faults in fire safety systems identify various fire safety systems work under supervision

Required Knowledge

advantages and disadvantages of various forms of heat and smoke detection devices basic components and their functions in the operation of a sprinkler system basic components of heat and smoke detection systems basic operating principles and applications of heat and smoke detectors building emergency evacuation procedures functions of a sprinkler system organisational procedures operating principles and applications of smoke alarms operating principles and applications of smoke control systems sources of water supply to sprinkler systems use and operation of emergency warning and intercommunication equipment use and operation of fire control room

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. |  |
| --- | --- |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Assessment must confirm the ability to: identify types of sprinkler systems identify components of sprinkler systems identify fire detection systems identify firefighter control facility identify emergency communications equipment. Consistency in performance Competency should be demonstrated over time in a range of actual or simulated workplace environments. |
| Context of and specific resources for assessment | Context of assessment Competency should be assessed on-the-job or in a simulated workplace environment. Specific resources for assessment Access is required to: wide range of fire safety systems and their components |
| Method of assessment | In a public safety environment assessment is usually conducted via direct observation in a training environment or in the workplace via subject matter supervision and/or mentoring, which is typically recorded in a competency workbook. Assessment is completed using appropriately qualified assessors who select the most appropriate method of assessment. Assessment may occur in an operational environment or in an industry-approved simulated workor in an agency-approved simulated work environment. Forms of assessment that are typically used include: direct observation interviewing the candidate journals and workplace documentation third party reports from supervisors written or oral questions |

# Range Statement

| The Range Statement relates to the Unit of Competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording in the Performance Criteria is detailed below. |  |
| --- | --- |
| Fire safety systems may include: | alarms electronic emergency warning paging (audible and visual) telephone visual communications emergency intercommunication system fire phone radio telephones fire detection systems carbon monoxide heat (linear, fixed temperature, rate of rise, video) flame (infra-red, ultra violet, video) smoke ( aspirating, ionisation, photo-electric) video fire sprinkler components (alarm valves, pressure and flow switches, pressure gauges, retard chambers, sprinkler heads [all types], stop valves, system pressurisation arrangement, tamper switches, valve monitoring dry pipe wet pipe fire suppression aerosol foam gaseous (carbon dioxide, nitrogen and inert gas) powder vaporising liquid water mist gas detection controller detectors smoke control mechanical plant shutdown smoke curtain operation smoke exhaust stair pressurisation other systems operations (such as electrical system shutdown, door closing/opening) |

# Unit Sector(s)

Not applicable.

# Corequisite Unit/s

| Co-requisite Unit/s | Nil |
| --- | --- |