# RIICCM202E Identify, locate and protect underground services

Release: 1

RIICCM202E Identify, locate and protect underground services

# Modification History

This unit replaces RIICCM202D Identify, locate and protect underground services. Significant endorseable amendments have been made to Elements, Performance Criteria, Foundation Skills, Performance Evidence and Knowledge Evidence to better reflect current industry practices and clarify training outcomes.

# Application

This unit describes the skills and knowledge required to identify, locate and protect underground services in civil construction.

It applies to those working in operational roles and overseeing construction work. They generally work under supervision and hold some responsibility for identifying, locating and protecting underground services.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to identify, locate and protect underground services | 1.1 Obtain, interpret and confirm work requirements 1.2 Access, interpret and apply Australian standards and documentation required for identifying, locating and protecting underground services and confirm work activity is compliant 1.3 Identify hazards and environmental issues, assess the risks and implement control measures in line with workplace policies 1.4 Identify and adhere to traffic signage requirements 1.5 Select equipment and tools required for service locating works and check for faults and report or rectify within scope of own role 1.6 Identify and apply environmental protection requirements for task 1.7 Obtain and prepare information for search requirements from national referral service prior to making contact with the service provider 1.8 Contact, obtain service and utility location details from and identify specific requirements of service and utility owners |
| 2. Identify and locate underground services | 2.1 Identify hazards and environmental issues, assess risks, implement control measures and confirm safe working environment 2.2 Determine location, alignment direction, level and grade of services and utilities from plans and location details 2.3 Comply with specific requirements of service and utility owners 2.4 Use visual and physical means to inspect site for services and utilities prior to commencing construction 2.5 Use required service locating equipment to detect and determine position of underground services and, in consultation with operator undertaking construction work, which assets are affected by planned works 2.6 Mark out positions of underground services and utilities as required 2.7 Generate reports of underground service location |
| 3. Protect underground services | 3.1 Advise operators undertaking construction of requirements for asset and utility protection according to service and utility owners requirements 3.2 Establish clearance distances and isolate work as required according to safety requirements 3.3 Move, relocate as necessary, protect and support services and utilities from construction process according to safety requirements and in conjunction with service and utility owners as required 3.4 Advise non-destructive and manual excavation as required 3.5 Confirm restoration of infrastructure assets and backfilling according to safety, and service and utility owners’ requirements, and advise road authority once work is completed as required 3.6 Record and report to asset owners and supervisory staff any damage to services and utilities during activity |
| 4. Conduct housekeeping activities | 4.1 Clear work area and dispose of and recycle materials as required 4.2 Clean, check and maintain condition of equipment, and report issues as required or address within scope of own role 4.3 Manage and report hazards as required 4.4 Finalise and process written records as required according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Adjusts activities given tolerances of plan details and equipment |
| Oral communication | Verbally acquires details from and reports problems and/or hazards to a supervisor or service and/or utility owner |
| Reading | Identifies and interprets information from at times complex workplace procedures, documentation, legislation and regulations |
| Self-management | Monitors and minimises self-exposure to worksite risks during activities |
| Writing | Records simple and routine information relating to work activities |

# Unit Mapping Information

Supersedes and is equivalent to RIICCM202D Identify, locate and protect underground services.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272