# RIICPL301E Install water mains pipelines

Release: 2

RIICPL301E Install water mains pipelines

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Application

This unit describes the skills and knowledge required to install water mains pipelines in civil construction. This includes setting out and excavating for installation, installing and testing mains pipe system.

It applies to those working in operational roles. They generally work under minimal supervision to undertake a broad range of tasks in varied work contexts, using some discretion and judgement in selecting equipment, services or contingency measures.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare to install water mains pipeline | 1.1 Obtain, interpret, clarify and confirm work plans and specification requirements 1.2 Access, interpret and apply documentation required to install water mains pipelines and confirm work activity is compliant 1.3 Confirm and identify requirements for complying with environmental protection, safety and traffic management signage requirements 1.4 Select equipment and tools required for work activities and check for faults 1.5 Select and wear personal protective equipment according to site requirements 1.6 Identify and address potential risks, hazards and environmental issues, and implement control measures within scope of role 1.7 Obtain and interpret emergency procedures and identify steps required to respond to emergencies |
| 2. Set out and excavate | 2.1 Prepare work area and materials according to job requirements 2.2 Determine and apply dewatering requirements 2.3 Determine location, alignment direction, level and grade of mains pipe system 2.4 Set out works according to job requirements 2.5 Advise plant operator of excavation requirements and monitor levels 2.6 Install mains pipe system support mechanism according to safety and job requirements |
| 3. Install pipeline | 3.1 Lower and place pipes in position according to job requirements 3.2 Join pipes according to manufacturer specifications 3.3 Place pipes and fit valves, fittings and flow control devices according to job requirements 3.4 Continuously check alignment level and grade and confirm it meets job requirements 3.5 Position side support and overlay beside the pipes as required 3.6 Check mains pipe system support structure 3.7 Monitor backfill procedure and confirm work is completed to specification 3.8 Construct valve chambers, minor structures and thrust blocks according to job requirements |
| 4. Test mains pipe system | 4.1 Perform mains pipe system test procedures establishing pressurisation, functionality and serviceability 4.2 Complete records and report test results according to job requirements |
| 5. Conduct clean-up activities | 5.1 Clear work area and dispose of or recycle materials according to site requirements 5.2 Clean, check, perform maintenance on and store plant, tools and equipment according to manufacturer specifications and site requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Calculates basic measurements including mass and dimensions |
| Self-management | Monitors and minimises own exposure to worksite risks and hazards during work activities |
| Writing | Completes documentation using sector specific vocabulary, grammatical structures and conventions |

# Unit Mapping Information

Supersedes and is equivalent to RIICPL301D Install water mains pipelines.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICPL301E Install water mains pipelines

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

install water mains pipelines on at least two occasions, including:

installing support mechanisms

installing at least 100 metres of water mains pipeline

completing pipe joins to specifications

performing pressurisation, functionality and serviceability test to specifications.

During the above, the candidate must:

locate and apply required legislation, documentation, policies and procedures

implement the requirements, procedures and techniques to install water mains pipelines, including:

applying problem solving and troubleshooting techniques

applying diagnostic techniques

completing written and verbal reporting requirements and procedures

work with others to undertake and complete the installation of water mains pipelines that meets all required outcomes, including:

communicating with others to receive and clarify work instructions

using communication techniques and equipment to convey information to others.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to install water mains pipelines

policies, procedures and documentation required to install water mains pipelines, including those relating to:

hazard identification, risk assessment and response

project quality measures

emergency response

work health and safety

waste management

environmental protection

communication techniques and equipment

operational, maintenance and basic diagnostic procedures

job plan and specifications

manufacturer specifications for required plant and equipment

using tools and equipment

maintaining excavation and trench safety

construction of water reticulation

site isolation and traffic control responsibilities and authorities

workplace recording requirements

confined space entry

site dewatering

principles and techniques required to install water mains pipelines, including those relating to:

using and installing mains pipe systems

identifying mains pipe and utility services

using concrete and concrete fabrication

using sedimentation and erosion controls

mains pipe system testing

pressurisation

reading and interpreting engineering drawings

managing site mains water pressure

identifying valves and flow control devices

calculations for pipeline grades and percentages

civil construction terminology relevant to installing water mains pipelines

types, characteristics, technical capabilities and limitations of plant and equipment required to install water mains pipelines

components of job safety analyses (JSAs), job safety environmental analyses (JSEAs), safe work method statements (SWMS)

components of safety data sheets (SDS) and materials handling methods.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to install water mains pipelines

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII implementation guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272