# RIICPL303D Install sewer pipelines

Release: 2

RIICPL303D Install sewer pipelines

# Modification History

| Release | Comment |
| --- | --- |
| 1 | This unit replaces RIICPL303A Install sewer pipelines |
| 2 | Required frequency and volume of evidence amended in Performance evidence. Substantial amendments made in Assessment Conditions field, including: references to Industry Sectors, assessor and subject matter expert experience requirements, how assessment should be conducted and what it should confirm. |

# Application

This unit describes a participant’s skills and knowledge required to install sewer pipelines in Civil construction.

This unit is appropriate for those working in operational roles.

Licensing, legislative, regulatory and certification requirements that apply to this unit can vary between states, territories, and Industry sectors. Relevant information must be sourced prior to application of the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| 1. Plan and prepare for installing sewer pipelines | 1.1 Access, interpret and apply sewer pipelines documentation and ensure the work activity is compliant 1.2 Obtain, interpret, clarify and confirm work/plans/specifications requirements 1.3 Identify, obtain and implement traffic signage 1.4 Select, and check for faults, equipment/tools for work activities 1.5 Identify, confirm and apply environmental protection requirements 1.6 Select and wear correct personal protective equipment appropriate for work activities 1.7 Identify, address and report potential hazards and risks 1.8 Obtain and interpret emergency procedures, and be prepared for fire/accident/emergency |
| --- | --- |
| 2. Set out and excavate | 2.1 Prepare work area and materials 2.2 Determine and apply dewatering requirements 2.3 Determine location, alignment direction, level and grade of sewer pipeline 2.4 Set out works to specification 2.5 Advise plant operator of excavation requirements and monitor levels 2.6 Install sewer pipeline bedding |
| 3. Install sewer pipeline | 3.1 Lower pipes and place in position 3.2 Join pipes 3.3 Place pipes and fit valves, fittings and flow control devices 3.4 Continually check alignment level and grade 3.5 Position side support and/or overlay beside the pipes 3.6 Check sewer pipeline system support structure 3.7 Monitor backfill procedure and ensure work is completed to requirements 3.8 Construct manholes, inspection and valve chambers, minor structures and thrust blocks |
| 4. Test sewer pipeline | 4.1 Perform sewer system test procedures establishing functionality and serviceability 4.2 Record in writing and report test results |
| 5. Clean up | 5.1 Clear work area and dispose of or recycle materials 5.2 Clean, check, maintain and store plant, tools and equipment |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit. Further information is available in the Resources and Infrastructure Industry Training Package Companion Volume.

# Unit Mapping Information

RIICPL303A Install sewer pipelines

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICPL303D Install sewer pipelines

# Modification History

| Release | Comment |
| --- | --- |
| 1 | This unit replaces RIICPL303A Install sewer pipelines |
| 2 | Required frequency and volume of evidence amended in Performance evidence. Substantial amendments made in Assessment Conditions field, including: references to Industry Sectors, assessor and subject matter expert experience requirements, how assessment should be conducted and what it should confirm. |

# Performance Evidence

Evidence is required to be collected that demonstrates a candidate’s competency in this unit. Evidence must be relevant to the roles within this sector’s work operations and satisfy all of the requirements of the performance criteria of this unit and include evidence that the candidate:

locates and applies applicable legislation, documentation, policies and procedures

implements the requirements, procedures and techniques for the safe, effective and efficient completion of installation of sewer pipelines including:

applying problem solving and troubleshooting techniques

applying diagnostic techniques

works effectively with others to undertake and complete the installation of sewer pipelines that meets all of the required outcomes including:

communicating clearly and concisely with others to confirm work/plans/specifications

using a range of communications techniques and equipment to convey information to others

demonstrates completion of installing sewer pipelines that safely, effectively and efficiently meets all of the required outcomes on more than one (1) occasion including:

determining location, alignment direction, level and grade of sewer pipeline

installing sewer pipeline bedding

installing a minimum of 100 metres of sewer pipe

constructing manholes, inspection and valve chambers, minor structures and thrust blocks

completing pipe joins

performing test procedures, establishing functionality and serviceability

maintaining written and verbal reporting requirements and procedures

# Knowledge Evidence

The candidate must demonstrate knowledge in installing sewer pipelines through:

accessing, interpreting and applying the legislative, organisation and site requirements and procedures for;

hazard identification, risk assessment and response

using JSA/JSEA/safe work method statements

project quality measures

using tools/equipment

maintaining excavation/trench safety

confined space entry

site dewatering

using safety data sheets and materials handling methods

using civil construction terminology

using sewer pipe systems and installation procedures

identifying mains pipe and utility services

using concrete and concrete fabrication

using sedimentation and erosion controls

reading and interpreting engineering drawings

identifying equipment types, characteristics, technical capabilities and limitations

identifying valves and flow control devices

construction of water reticulation

calculating pipeline grades and percentages

identifying site isolation and traffic control responsibilities and authorities

# Assessment Conditions

An assessor of this unit must satisfy the requirements of the NVR/AQTF or their successors; and Industry regulations for certification and licensing; and,

this unit must be assessed in the context of this sector’s work environment; and,

this unit must be assessed in compliance with relevant legislation/regulation and using policies, procedures, processes and operational manuals directly related to the industry sector for which it is being assessed; and,

assessment may be conducted in conjunction with the assessment of other Units of Competency; and,

assessment must confirm consistent performance can be applied in a range of relevant workplace circumstances; and,

assessors must demonstrate the performance evidence, and knowledge evidence as outlined in this Unit of Competency, and through the minimum years of current* work experience specified below in an Industry sector relevant to the outcomes of the unit; or,

where the assessor does not meet experience requirements a co-assessment or partnership arrangement must exist between the qualified assessor and an Industry subject matter expert. The Industry subject matter expert should hold the unit being assessed (or an equivalent unit) and/or demonstrate equivalence of skills and knowledge at the unit level. An Industry technical expert must also demonstrate skills and knowledge from the minimum years of current work experience specified below in the Industry sector, including time spent in roles related to the unit being assessed; and,

assessor and Industry subject matter expert requirements differ depending on the Australian Qualifications Framework Level (AQF) of the qualification being assessed and/or Industry Sector as follows:

| Industry sector | AQF** Level | Required assessor or Industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Construction | 1 | 1 Year |
|  | 2 | 2 Years |
| Drilling, Coal Mining and Extractive (Quarrying) | 3-6 | 3 Years |
| Metalliferous Mining and Civil Construction | 3-6 | 5 Years |
| Other sectors | Where this Unit is being assessed outside of the Resources and Infrastructure Sectors assessor and/or Industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no Industry standard is specified should comply with any relevant regulation. |  |

*Assessors can demonstrate current work experience through employment within Industry in a role relevant to the outcomes of the Unit; or, for external assessors this can be demonstrated through exposure to Industry by conducting frequent site assessments across various locations.

**Where a unit is being delivered outside of a Qualification the first numeric character in the Unit code should be considered to indicate the AQF level

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272