# RIICPL304E Install pre-cast gully pits

Release: 1

RIICPL304E Install pre-cast gully pits

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Application

This unit describes the skills and knowledge required to install pre-cast gully pits in civil construction. This includes determining location and positioning of gully pits, installing the main components of the pre-cast unit, sealing finished surface by rendering and attaching auxiliary components or modifications to the pre-cast unit.

It applies to those working in operational roles. They generally work under minimal supervision to undertake a broad range of tasks in varied work contexts, using some discretion and judgement in selecting equipment, services or contingency measures.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare to install pre-cast gully pits | 1.1 Obtain, interpret, clarify and confirm work plans and specifications requirements 1.2 Access, interpret and apply documentation required to install pre-cast gully pits and confirm work activity is compliant 1.3 Confirm and identify requirements for complying with environmental protection, safety and traffic management signage requirements 1.4 Select equipment and tools required for work activities and check for faults 1.5 Select and wear personal protective equipment according to site requirements 1.6 Identify and address potential risks, hazards and environmental issues, and implement control measures within scope of own role 1.7 Obtain and interpret emergency procedures and identify steps required to respond to emergencies |
| 2. Install gully pits | 2.1 Advise plant operator of excavation and base preparation requirements 2.2 Determine location and positioning of gully pits according to job requirements 2.3 Set out work area to design specifications 2.4 Control ingress of water by dewatering 2.5 Position, fabricate and install main components of pre-cast unit according to job requirements 2.6 Seal finished surface by rendering where specified 2.7 Position and attach auxiliary components or modifications to pre-cast unit 2.8 Inspect and repair new and existing gully pits according to job requirements |
| 3. Conduct clean-up activities | 3.1 Clear work area and dispose of or recycle materials according to site requirements 3.2 Clean, check, perform maintenance on and store plant, tools and equipment according to manufacturer specifications and site requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Calculates basic measurements including mass and dimensions |
| Self-management | Monitors and minimises own exposure to worksite risks and hazards during work activities |
| Writing | Completes documentation using sector specific vocabulary, grammatical structures and conventions |

# Unit Mapping Information

Supersedes and is equivalent to RIICPL304D Install pre-cast gully pits.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICPL304E Install pre-cast gully pits

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

install pre-cast gully pits on at least two occasions, including:

determining location and positioning of gully pits

installing gully pits for stormwater systems.

During the above, the candidate must:

locate and apply required legislation, documentation, policies and procedures

implement the requirements, procedures and techniques to install pre-cast gully pits, including:

applying problem solving and troubleshooting techniques

applying diagnostic techniques

completing written and verbal reporting requirements and procedures

work with others to undertake and complete the installation of pre-cast gully pits that meets all required outcomes, including:

communicating with others to confirm work plans and specifications

using communication techniques and equipment to convey information to others.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to install pre-cast gully pits

policies, procedures and documentation required to install water mains pipelines, including those relating to:

hazard identification, risk assessment and response

project quality measures

using tools and equipment

maintaining excavation and trench safety

emergency response

work health and safety

environmental protection

waste management

communication techniques and equipment

operational, maintenance and basic diagnostic procedures

job plans and specifications

site isolation and traffic control responsibilities and authorities

manufacturer specifications for required plant and equipment

workplace recording requirements

confined space entry

site dewatering

civil construction terminology relevant to installing pre-cast gully pits

principles and techniques for effective installation of pre-cast gully pits, including those relating to:

using and installing gully pit systems

identifying mains pipe and utility services

using concrete and concrete fabrication

using sedimentation and erosion controls

working with storm-water systems

reading and interpreting engineering drawings and design specifications

types, characteristics, technical capabilities and limitations of plant and equipment required to install pre-cast gully pits

components of job safety analyses (JSAs), job safety environmental analyses (JSEAs), safe work method statements (SWMS)

components of safety data sheets (SDS) and materials handling methods.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to install pre-cast gully pits

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII implementation guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272