# RIICPL401E Supervise the installation of underground services using open excavation

Release: 2

RIICPL401E Supervise the installation of underground services using open excavation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |
| Release 2 | This version first released with RII Resources and Infrastructure Industry Training Package Version 8.0. Minor update of unit of competency. Amendments made to wording of elements and performance criteria to better reflect intent. |

# Application

This unit describes the skills and knowledge required to supervise the installation of underground services using open excavation in civil construction, including preparing team members to install underground services and overseeing and reporting on task execution.

It applies to those working in supervisory or technical specialist roles. They generally perform a broad range of operational activities in their area of responsibility and are responsible for monitoring a safe work environment.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare for underground service installation | 1.1 Obtain, interpret, clarify and confirm work requirements 1.2 Access, interpret and apply documentation required to supervise underground service installation and confirm work activity is compliant 1.3 Identify and address potential risks, hazards and environmental issues and implement control measures 1.4 Select and wear personal protective equipment according to site requirements 1.5 Confirm job plan is available and meets task requirements |
| 2. Prepare team members to execute tasks | 2.1 Confirm required resources are available to meet job requirements 2.2 Communicate instructions to team members and other involved personnel according to job requirements 2.3 Set out tasks required to complete work activity according to job requirements |
| 3. Oversee execution of tasks | 3.1 Monitor installation task performance and confirm outcomes are achieved according to job requirements 3.2 Initiate adjustments to work practice and job plans as required to meet job requirements 3.3 Confirm plant, equipment and tools maintenance requirements are carried out and recorded according to job requirements and manufacturer specifications |
| 4. Report on execution of tasks | 4.1 Complete and submit reports according to site requirements 4.2 Recommend required changes to confirm task execution meets job requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Calculates resourcing requirements and performs mathematical calculations |
| Oral communication | Conveys information and requirements clearly and listens actively |
| Writing | Prepares specific information that complies with requirements, using sector-specific vocabulary, grammatical structures and conventions |

# Unit Mapping Information

Supersedes and is equivalent to RIICPL401D Apply the principles for the installation of underground service using open excavation.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICPL401E Supervise the installation of underground services using open excavation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |
| Release 2 | This version first released with RII Resources and Infrastructure Industry Training Package Version 8.0. Minor update of unit of competency. Amendments made to wording of elements and performance criteria to better reflect intent. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

supervise the installation of underground service using open excavation on at least two occasions.

During the above, the candidate must:

locate and apply required legislation, documentation, policies and procedures

implement the requirements, procedures and techniques to supervise the installation of underground service using open excavation tasks, including:

organising availability of necessary resources

identifying and interpreting relevant information and data

calculating quantities for the execution of tasks, including:

volumes

grades

percentages

areas

resource consumption figures, including required supply rates

completing written records and reporting systems

work with others to plan, prepare and conduct the installation of underground service using open excavation tasks, including:

providing instruction and supervision to those involved using communication techniques and equipment

preparing for and conducting briefings, toolbox and site meeting.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to supervise the installation of underground services using open excavation

policies, procedures and documentation required to supervise the installation of underground services using open excavation, including those relating to:

risk assessment and management

statutory compliance

work health and safety

environmental management

shoring and slope management

quality management

emergency response

work zone traffic management

contract management

job plans and specifications

workplace recording requirements

implementing plant, equipment and tools maintenance requirements and procedures

assessing operational techniques

assessing resource requirements and procedures

scheduling work activities

scheduling materials delivery requirements and procedures

implementing workplace relationship requirements and procedures

managing client and site operational requirements

identifying relationship between various areas of civil works

site requirements

principles and techniques for effective installation of underground services using open excavation, including those relating to:

team leadership

using works planning

engineering surveying

estimating

civil works construction sequencing

civil construction terminology relevant to installing underground services using open excavation

types, characteristics, technical capabilities and limitations of plant and equipment required to install underground services using open excavation

related underground services and utilities.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to supervise underground service installation using open excavation

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII implementation guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272