# RIICRC204E Install and maintain roadside fixtures

Release: 1

RIICRC204E Install and maintain roadside fixtures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Application

This unit describes the skills and knowledge required to install and maintain roadside fixtures in civil construction, including erecting guardrails, finish ends and road fencing, and installing guide posts and delineators and maintaining signs.

It applies to those working in operational roles. They generally work under supervision to undertake a prescribed range of functions involving known routines and procedures and take some responsibility for the quality of work outcomes.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare to install and maintain roadside fixtures | 1.1 Obtain, interpret, clarify and confirm work requirements 1.2 Access, interpret and apply roadside fixtures installation and maintenance documentation and confirm work activity is compliant 1.3 Identify and address potential risks, hazards and environmental issues, and implement control measures within scope of own role 1.4 Select and wear personal protective equipment according to site requirements 1.5 Identify, obtain, confirm and implement signage requirements 1.6 Select plant, tools and equipment required to carry out tasks and check for faults |
| 2. Install guide posts and delineators | 2.1 Set out job to alignment and locations according to job requirements 2.2 Excavate holes for poles according to job requirements 2.3 Install guideposts according to job requirements 2.4 Install delineators according to job requirements |
| 3. Erect guardrails | 3.1 Set out position of guardrails according to job requirements 3.2 Finish guardrails according to job requirements 3.3 Erect and/or install guardrails in specified location according to job requirements |
| 4. Erect road fencing | 4.1 Set out fence line and excavate positions of fence line and post hole according to job requirements 4.2 Install fence posts plumb and to alignment according to job requirements 4.3 Fit and fix rails, cladding mesh or panels according to job requirements |
| 5. Repair roadside fixtures | 5.1 Identify roadside fixture faults and determine methods of repair 5.2 Carry out repairs and routine maintenance according to manufacturer specifications and site requirements |
| 6. Maintain signs | 6.1 Maintain signs and support structures according to manufacturer specifications and site requirements 6.2 Carry out repairs according to manufacturer specifications and site requirements 6.3 Replace reflective patches according to cyclic maintenance program |
| 7. Conduct clean-up activities | 7.1 Clear work area and recycle or dispose of materials according to site requirements 7.2 Store or stack unused materials according to site requirements 7.3 Clean, check, maintain and store plant, tools and equipment according to manufacturer specifications and site requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| SKILL | DESCRIPTION |
| --- | --- |
| Numeracy | Calculates basic measurements, including mass and dimensions |
| Self-management | Monitors and minimises own exposure to worksite risks and hazards during work activities |

# Unit Mapping Information

Supersedes and is equivalent to RIICRC204D Install and maintain roadside fixtures.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICRC204E Install and maintain roadside fixtures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

install and maintain roadside fixtures on at least two occasions, including:

completing the following as an individual or as a member of a two to three person team:

installing ten metres of guardrail and finish ends

installing two guide posts and delineators

replacing two signs

erecting ten metres of roadside fencing to specification

carrying out repair to roadside fixtures

performing maintenance on signs

conducting a clean-up on completion of work.

During the above, the candidate must:

locate and apply required documentation, policies and procedures

implement the requirements, procedures and techniques for installing and maintaining roadside fixtures, including:

identifying and applying relevant drawings and job specifications to all work activities

confirming safety requirements

identifying, addressing and reporting potential hazards and risks

identifying, obtaining, confirming and implementing requirements for signage and barriers

selecting and checking for faults tools and equipment required to carry out tasks

identifying, addressing and reporting environmental issues and ground conditions

work with others to install and maintain roadside fixtures in a way that meets required outcomes, including:

preparing for and organising work activities to meet task requirements

communicating with others to receive and clarify work instructions

using communication techniques and aids to advise others of work activity and exclusion zones

monitoring hazards and identifying changes to work environment.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to install and maintain roadside fixtures

policies, procedures and documentation required to install and maintain roadside fixtures, including those relating to:

site requirements

manufacturer specifications for required plant and equipment

relevant drawings and job specifications

hazard and risk management

environmental protection and ground conditions

work activity set up procedures

communication techniques and aids

project quality requirements

site isolation and traffic control responsibilities

work health and safety

waste management

types, characteristics, technical capabilities and limitations of equipment required to install and maintain roadside fixtures

principles and techniques for effective installation and maintenance of roadside fixtures, including:

signage

guardrails

finish ends

roadside fencing

guide posts

delineators.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to install and maintain roadside fixtures

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations (RTOs) 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the Companion Volume Implementation Guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272