# Assessment Requirements for RIICRC302E Place and form concrete kerb, channel and fixtures

Release: 1

Assessment Requirements for RIICRC302E Place and form concrete kerb, channel and fixtures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

place and form concrete kerb, channel and fixtures on at least two occasions, including:

setting out and preparing for construction or installation according to drawings and specifications requirements

forming kerb and barrier strips by placing concrete and applying mortar to specifications

pouring concrete into installed formwork

finishing kerbs, channels and fixtures

installing pre-cast concrete units and finishing to specifications

repairing kerb, gutters and median and barrier strips

clearing, backfilling and finishing work areas

clearing work area and disposing of, recycling or storing materials.

During the above, the candidate must:

locate and apply required documentation, policies and procedures and confirm work activity is compliant

implement the requirements, procedures and techniques to place and form concrete kerbs, channels and fixtures, including:

identifying and applying relevant drawings and job specifications to all work activities

identifying, addressing and reporting potential hazards and risks

identifying, obtaining, confirming and implementing signage requirements

selecting and checking for faults all plant, tools and equipment required to carry out tasks

identifying, addressing and reporting environmental issues and ground conditions

work with others to place and form concrete kerbs, channels and fixtures in a way that meets required outcomes, including:

preparing for and organising work activities to meet task requirements

communicating with others to receive and clarify work instructions

using communication techniques and aids to advise others of work activity and exclusion zones

monitoring hazards and identifying and communicating changes to work environment.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to place and form concrete kerb, channel and fixtures

policies, procedures and documentation required to place and form concrete kerb, channel and fixtures, including those relating to:

Australian Standards required for kerbs, channels and fixtures

site requirements

manufacturer specifications for required plant and equipment

relevant drawings and job specifications

hazard and risk management

environmental protection and ground conditions

work activity set up procedures

project quality requirements

communication techniques and aids

site isolation and traffic control responsibilities

work health and safety

waste management

types, characteristics, technical capabilities and limitations of equipment required to place and form concrete kerb, channel and fixtures

principles and techniques for effective concrete kerb, channel and fixtures placement and formation, including:

gutters

median and barrier strips

driveways

inverts

techniques for installing formwork

kerb, channel and fixture repair techniques.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to place and form concrete kerb, channel and fixtures

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations (RTOs) 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the Companion Volume Implementation Guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272