# RIICTC305E Construct portals

Release: 1

RIICTC305E Construct portals

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Application

This unit describes the skills and knowledge required to construct portals in civil construction. This includes excavating portal shape, supporting excavation, forming portal surrounds and installing ground support

It applies to those working in operational roles. They generally work under minimal supervision to undertake a broad range of tasks in varied work contexts, using some discretion and judgement in selecting equipment, services or contingency measures.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare to construct portals | 1.1 Obtain, interpret, clarify and confirm work instructions 1.2 Access, interpret and apply documentation required to construct portals and confirm work activity is compliant 1.3 Confirm and identify requirements for complying with environmental protection, safety and traffic management signage requirements 1.4 Select plant, tools and equipment required to carry out tasks and check for faults 1.5 Select and wear personal protective equipment according to site requirements 1.6 Obtain and interpret emergency procedures and identify steps required to respond to emergencies 1.7 Identify preliminary ground work requirements to support portal surrounds prior to excavation 1.8 Identify and address potential risks, hazards and environmental issues, and implement control measures within scope of own role |
| 2. Excavate portal shape | 2.1 Determine location, alignment and direction portals from details contained in job drawings and specifications 2.2 Identify and apply method of construction for portal 2.3 Prepare material for the construction process of the selected portals according to design plans and specifications 2.4 Complete excavation to plan 2.5 Control dust and noise suppression according to safety and legislative requirements |
| 3. Support excavation and form portal surrounds | 3.1 Install sheeting or first set to specifications 3.2 Excavate and trim battering to design and drainage specifications |
| 4. Install ground support | 4.1 Identify ground support from project drawings and specifications 4.2 Construct base to detail drawings and specifications 4.3 Install ground support and shotcrete or concrete according to job requirements 4.4 Place drainage and seepage provisions according to job requirements |
| 5. Conduct housekeeping activities | 5.1 Clear work area and dispose of or recycle materials according to site requirements 5.2 Clean, check, perform maintenance on and store plant, tools and equipment according to manufacturer specifications and site requirements 5.3 Carry out housekeeping activities according to site requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Calculates basic measurements including mass and dimensions |
| Self-management | Monitors and minimises own exposure to worksite risks and hazards during work activities |
| Writing | Completes documentation using sector specific vocabulary, grammatical structures and conventions |

# Unit Mapping Information

Supersedes and is equivalent to RIICTC305D Construct portals.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIICTC305E Construct portals

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

construct portals on at least two occasions, including the construction of a portal using an excavation ground support system.

During the above, the candidate must:

locate and apply required legislation documentation, policies and procedures

implement the requirements, procedures and techniques to construct portals, including:

applying equipment and manual handling techniques

selecting and using required tools and equipment

identifying, reporting and recording hazards and risks

installing portals

work with others to undertake and complete the constructing of portals that meets required outcomes, including:

organising work activities to meet task requirements

communicating with others to receive and clarify work instructions

using communication techniques and systems to advise others of work activity and exclusion zones.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to construct portals

policies, procedures and documentation required to construct portals, including those relating to:

work health and safety project quality requirements

safety data sheets (SDS) and materials handling methods

housekeeping activities, including:

cleaning up work area

cleaning, maintaining and storing equipment and tools

waste management

processing records

principles and techniques required to construct portals, including:

basic principles of soil technology for civil works

principles of ground support

ground support systems installation techniques

dust and noise suppression

construction principles

maintenance requirements, including:

cleaning

authorised servicing

recording and reporting faults

authorised minor replacements

types and purposes of portals

types, characteristics, technical capabilities and limitations of plant and equipment required to construct portals, including:

hand tools

excavation tools

installation and drilling equipment relevant to selected ground support system

types, functions, characteristics and limitations of excavation ground support systems

types, functions, characteristics and limitations of finishing ground support systems

civil construction terminology relevant to constructing portals.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to construct portals

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

#### Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII implementation guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272