# Assessment Requirements for RIICTT310E Renovate large diameter pipes and chambers

Release: 1

Assessment Requirements for RIICTT310E Renovate large diameter pipes and chambers

# Modification History

This unit replaces RIICTT310D Renovate large diameter pipes and chambers. Minor endorseable amendments have been made to Elements, Performance Criteria, Foundation Skills, Performance Evidence and Knowledge Evidence to better reflect current industry practices and clarify training outcomes.

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit; including evidence of the ability to:

renovate large diameter pipes and chambers on at least two occasions including at least two different renovations of large diameter pipes and chambers.

During the above, the candidate must:

locate, apply and retain on site access to documentation, policies and procedures required for renovating large diameter pipes and chambers

implement the requirements, procedures and techniques for renovating large diameter pipes and chambers, including:

determining site conditions and locating underground utilities

determining pipeline faults and required repair and sealing method

complete housekeeping activities

work with others to renovate large diameter pipes and chambers that meets all required outcomes, including:

using a range of communication techniques and equipment to convey information to others

maintaining written and verbal reporting requirements and procedures

organising work activities to meet all task requirements

identify, obtain, confirm and apply work, safety and signage instructions and requirements.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

engineering drawings, plans and specifications required for renovating large diameter pipes and chambers

civil construction terminology relevant for renovating large diameter pipes and chambers

safety data sheets and materials handling methods

principles for pipeline systems relevant to trenchless technology

key risks relating renovating large diameter pipes and chambers, including those associated with:

traffic

live electrical services

confined spaces

falls

locating near other works in progress

manual handling

gas

key policies and procedures, legislation and established requirements for renovating large diameter pipes and chambers, including those for:

workplace health and safety

equipment safety

project environmental management

site condition assessments

operating and maintaining equipment

site isolation and traffic control

waste disposal and recycling

confined space entry

locating underground utilities

key factors affecting work activities described in performance evidence above, including:

fault types

renovation methods

equipment types, characteristics, technical capabilities and limitations

laser control equipment techniques

curing process

working in a road reserve

manual handling techniques.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

equipment required for renovating large diameter pipes and chambers

personal protective equipment

be conducted in a safe environment; and,

be assessed in context of this sector’s work environment; and,

be assessed in compliance with relevant legislation/regulation and using policies, procedures, processes and operational manuals directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

# Assessor Requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory competency standards as set out in the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing a high level of RII training product knowledge

having an understanding and knowledge of legislations and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence as outlined in this Unit of Competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must hold the relevant vocational competencies and have current industry skills directly relevant to the training and assessment being provided and must work alongside a trainer and/or assessor to conduct the assessment. This means the industry subject matter expert should hold the unit being assessed (or an equivalent unit), and must also demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| Industry sector | AQF** Level | Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Construction | 1 | 1 Year |
|  | 2 | 2 Years |
| Drilling, Coal Mining and Extractive (Quarrying) | 3-6 | 3 Years |
| Metalliferous Mining and Civil Construction | 3-6 | 5 Years |
| Other sectors | Where this unit of competency is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII Companion Volume Implementation Guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272