# Assessment Requirements for RIIMSM307D Install and maintain ventilation systems and equipment

Release: 2

Assessment Requirements for RIIMSM307D Install and maintain ventilation systems and equipment

# Modification History

| #### Release | #### Comment |
| --- | --- |
| 1 | This unit replaces RIISM307A Install and maintain ventilation systems and equipment |
| 2 | Required frequency and volume of evidence amended in Performance evidence. Substantial amendments made in Assessment Conditions field, including: references to Industry Sectors, assessor and subject matter expert experience requirements, how assessment should be conducted and what it should confirm. |

# Performance Evidence

Evidence is required to be collected that demonstrates a candidate’s competency in this unit. Evidence must be relevant to the roles within this sector’s work operations and satisfy all of the requirements of the performance criteria of this unit and include evidence that the candidate:

locates and applies applicable legislation, documentation, policies and procedures

implements requirements, procedures and techniques for the safe, effective and efficient completion of installing and maintaining ventilation systems and equipment including:

selecting and using relevant tools & equipment

measuring and testing air flow and gas levels

identifying impurities

works effectively with others to undertake and complete the installation and maintenance of ventilation systems and equipment that meets all of the required outcomes including:

communicating clearly and concisely with others to confirm instructions

organising and prioritising work activities

identifying and addressing the coordinating requirements

demonstrates completion of installing and maintaining ventilation systems and equipment that safely, effectively and efficiently meets all of the required outcomes on more than one (1) occasion including:

determining ventilation system configuration and location requirements

inspecting ventilation equipment, devices and system to ensure safe efficient operation

measuring airflow and adjusting ventilation system to maintain adequate flow of air through the mine

identifying and obtaining required ventilation materials, equipment and devices

# Knowledge Evidence

The candidate must demonstrate knowledge in installing and maintaining ventilation systems and equipment through:

accessing, interpreting and applying legislative, organisation and site requirements and procedures for:

mine operation

risk management

gas monitoring and testing

air flow measurement

site environmental requirements and constraints

accessing, interpreting and applying basic mine geology and survey information related to ventilation systems

accessing, interpreting and applying types and applications of ventilation systems

accessing, interpreting and applying ventilation equipment and device construction, processes and operating characteristics

accessing, interpreting and applying ventilation device equipment and material characteristics

identifying and addressing changing environmental conditions

being prepared for fire/accident/emergency

# Assessment Conditions

An assessor of this unit must satisfy the requirements of the NVR/AQTF or their successors; and Industry regulations for certification and licensing; and,

this unit must be assessed in the context of this sector’s work environment; and,

this unit must be assessed in compliance with relevant legislation/regulation and using policies, procedures, processes and operational manuals directly related to the industry sector for which it is being assessed; and,

assessment may be conducted in conjunction with the assessment of other Units of Competency; and,

assessment must confirm consistent performance can be applied in a range of relevant workplace circumstances; and,

assessors must demonstrate the performance evidence, and knowledge evidence as outlined in this Unit of Competency, and through the minimum years of current* work experience specified below in an Industry sector relevant to the outcomes of the unit; or,

where the assessor does not meet experience requirements a co-assessment or partnership arrangement must exist between the qualified assessor and an Industry subject matter expert. The Industry subject matter expert should hold the unit being assessed (or an equivalent unit) and/or demonstrate equivalence of skills and knowledge at the unit level. An Industry technical expert must also demonstrate skills and knowledge from the minimum years of current work experience specified below in the Industry sector, including time spent in roles related to the unit being assessed; and,

assessor and Industry subject matter expert requirements differ depending on the Australian Qualifications Framework Level (AQF) of the qualification being assessed and/or Industry Sector as follows:

| #### Industry sector | #### AQF** Level | #### Required assessor or Industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Construction | 1 | 1 Year |
|  | 2 | 2 Years |
| Drilling, Coal Mining and Extractive (Quarrying) | 3-6 | 3 Years |
| Metalliferous Mining and Civil Construction | 3-6 | 5 Years |
| Other sectors | Where this Unit is being assessed outside of the Resources and Infrastructure Sectors assessor and/or Industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no Industry standard is specified should comply with any relevant regulation. |  |

*Assessors can demonstrate current work experience through employment within Industry in a role relevant to the outcomes of the Unit; or, for external assessors this can be demonstrated through exposure to Industry by conducting frequent site assessments across various locations.

**Where a unit is being delivered outside of a Qualification the first numeric character in the Unit code should be considered to indicate the AQF level

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272