# Assessment Requirements for RIINHB322D Construct multiple aquifer production bores

Release: 2

Assessment Requirements for RIINHB322D Construct multiple aquifer production bores

# Modification History

| #### Release | #### Comment |
| --- | --- |
| 1 | This unit replaces RIINHB322A Construct multiple aquifer production bores |
| 2 | Required frequency and volume of evidence amended in Performance evidence. Substantial amendments made in Assessment Conditions field, including: references to Industry Sectors, assessor and subject matter expert experience requirements, how assessment should be conducted and what it should confirm. |

# Performance Evidence

Evidence is required to be collected that demonstrates a candidate’s competency in this unit. Evidence must be relevant to the roles within this sector’s work operations and satisfy all of the requirements of the performance criteria of this unit and include evidence that the candidate:

locates and applies relevant legislation, documentation, policies and procedures

implements the requirements, procedures and techniques for the safe, effective and efficient completion of multiple aquifer production bore construction including:

performing aquifer sand sieve analysis tests

calculating the specific capacity of a bore

calculating grout component quantities, i.e. cement powder, water and other additives as required

calculating hole and annular volumes

calculating grout/mud specific gravity

determining grain size and selection of appropriate artificial pack material

works effectively with others to undertake and complete the construction of multiple aquifer production bores that meets all of the required outcomes including:

complying with written and verbal reporting requirements and procedures

communicating clearly and concisely with others to receive and clarify work instructions

communicating clearly and concisely with others to resolve coordination requirements prior to commencing and during work activities

demonstrates completion of the construction of multiple aquifer production bores that safely, effectively and efficiently meets all of the required outcomes on more than one (1) occasion including:

designing the bore to ensure the exclusion of unsuitable waters and to prevent the inter-mixing of aquifers with different water quality or Standing Water Levels

selecting a bore site that will prevent contamination and minimise interference with other bores and that is safe with respect to potential occupational health and safety hazards

selecting likely water entry mechanism from the formation to the bore such as open hole, slotted casing screens, gravel packs

assembling and inserting casing and screens

completing grouting operations to seal intermediate and/or production casing strings or to seal selected zones

maintaining plumbness and alignment of the hole within the required limitations

continuing development until a continuous, clean supply of water is obtained, in accordance with site, contractual or regulatory requirements

performing tests to estimate the sustainable yield of the bore

# Knowledge Evidence

The candidate must demonstrate knowledge in constructing multiple aquifer production bores through:

work, health and safety

environmental issues

operating drill rig

housekeeping

identifying with the equipment characteristics, technical capabilities and limitations

testing for alignment and plumbness of bores

hole preparation for cementing (grouting) operations

effects of various cement (grout) additives

pressure cementing methods

casing collapse characteristics

applications for wire-wound screens

screen design parameters to ensure appropriate entrance velocities

interpreting the sieve analysis results

observing the objectives of bore development

types of drilling fluids

grout placement methods and procedures

range of numerical calculations to calculate:

volume (e.g. mud pits, drums, tanks or bore holes of given dimensions, annulus)

up hole velocity

cement/water/additives quantities

screen design parameters

flow rates (e.g. L/sec, GPM)

conversion from imperial to metric and vice versa

conducting a sieve analysis

understanding the appropriate fishing operations for the type(s) of drilling being undertaken

reading, interpreting and applying the required safety data sheets (SDS)

being prepared for fire/accident/emergency

# Assessment Conditions

An assessor of this unit must satisfy the requirements of the NVR/AQTF or their successors; and Industry regulations for certification and licensing; and,

this unit must be assessed in the context of this sector’s work environment; and,

this unit must be assessed in compliance with relevant legislation/regulation and using policies, procedures, processes and operational manuals directly related to the industry sector for which it is being assessed; and,

assessment may be conducted in conjunction with the assessment of other Units of Competency; and,

assessment must confirm consistent performance can be applied in a range of relevant workplace circumstances; and,

assessors must demonstrate the performance evidence, and knowledge evidence as outlined in this Unit of Competency, and through the minimum years of current* work experience specified below in an Industry sector relevant to the outcomes of the unit; or,

where the assessor does not meet experience requirements a co-assessment or partnership arrangement must exist between the qualified assessor and an Industry subject matter expert. The Industry subject matter expert should hold the unit being assessed (or an equivalent unit) and/or demonstrate equivalence of skills and knowledge at the unit level. An Industry technical expert must also demonstrate skills and knowledge from the minimum years of current work experience specified below in the Industry sector, including time spent in roles related to the unit being assessed; and,

assessor and Industry subject matter expert requirements differ depending on the Australian Qualifications Framework Level (AQF) of the qualification being assessed and/or Industry Sector as follows:

| #### Industry sector | #### AQF** Level | #### Required assessor or Industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Construction | 1 | 1 Year |
|  | 2 | 2 Years |
| Drilling, Coal Mining and Extractive (Quarrying) | 3-6 | 3 Years |
| Metalliferous Mining and Civil Construction | 3-6 | 5 Years |
| Other sectors | Where this Unit is being assessed outside of the Resources and Infrastructure Sectors assessor and/or Industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no Industry standard is specified should comply with any relevant regulation. |  |

*Assessors can demonstrate current work experience through employment within Industry in a role relevant to the outcomes of the Unit; or, for external assessors this can be demonstrated through exposure to Industry by conducting frequent site assessments across various locations.

**Where a unit is being delivered outside of a Qualification the first numeric character in the Unit code should be considered to indicate the AQF level

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272