# Assessment Requirements for RIIPGP302D Monitor and operate auxiliary plant and equipment

Release: 2

Assessment Requirements for RIIPGP302D Monitor and operate auxiliary plant and equipment

# Modification History

| #### Release | #### Comment |
| --- | --- |
| 1 | This unit replaces RIIPGP302A Monitor and operate auxiliary plant and equipment |
| 2 | Required frequency and volume of evidence amended in Performance evidence. Substantial amendments made in Assessment Conditions field, including: references to Industry Sectors, assessor and subject matter expert experience requirements, how assessment should be conducted and what it should confirm. |

# Performance Evidence

Evidence is required to be collected that demonstrates a candidate’s competency in this unit. Evidence must be relevant to the roles within this sector’s work operations and satisfy all of the requirements of the performance criteria of this unit and include evidence that the candidate:

locates and applies applicable legislation, documentation, policies and procedures

implements requirements, procedures and techniques for the safe, effective monitoring and operation of auxiliary plant and equipment operations including:

changing over auxiliary/ancillary plant to meet operational and maintenance requirements

identifying basic faults and adjustments and make repairs to running/operating plant

carrying out plant and equipment maintenance

selecting and using relevant tools and equipment

identify and handle hazardous goods

maintaining, cleaning and operating equipment

identifying potential risks and hazards

lifting loads (manual handling, cranes and loads)

works with others to undertake and complete the monitoring and operation of auxiliary plant and equipment that meets all of the required outcomes including:

using a range of communications techniques and equipment to convey information to others

maintaining written and verbal reporting requirements and procedures

communicating to confirm work requirements

demonstrates completion of the monitoring and operation of auxiliary plant and equipment that safely, effectively and efficiently meets all of the required outcomes on more than one (1) occasion including:

operating and monitoring equipment including:

starting up auxiliary plant,

monitoring plant and equipment for correct and efficient performance,

take equipment indicator readings and identify and rectify defects and potential problems

interpret and respond to plant alarms

clearing pipeline and pumping system blockages

maintaining materials storage vessel levels to meet plant operating demands

performing post shutdown or isolation checks

# Knowledge Evidence

The candidate must demonstrate knowledge of auxiliary plant and equipment monitoring and operating through:

applying legislative, organisation and site requirements and procedures for:

risk assessment and management

statutory compliance

work health and safety

operating auxiliary equipment

applying  safe work practices

maintaining plant configuration and function

complying with auxiliary equipment configuration and function

complying with breakdown and emergency procedures

using troubleshooting techniques

complying with sampling and testing purpose and procedures

identifying plant and equipment limitations and operating parameters

complying with plant and equipment safety requirements

applying isolation procedures

applying metallurgical processes and effects on product

applying operational, site procedures and checks

applying environmental requirements and procedures

being prepared for fire/accident/emergency

# Assessment Conditions

An assessor of this unit must satisfy the requirements of the NVR/AQTF or their successors; and Industry regulations for certification and licensing; and,

this unit must be assessed in the context of this sector’s work environment; and,

this unit must be assessed in compliance with relevant legislation/regulation and using policies, procedures, processes and operational manuals directly related to the industry sector for which it is being assessed; and,

assessment may be conducted in conjunction with the assessment of other Units of Competency; and,

assessment must confirm consistent performance can be applied in a range of relevant workplace circumstances; and,

assessors must demonstrate the performance evidence, and knowledge evidence as outlined in this Unit of Competency, and through the minimum years of current* work experience specified below in an Industry sector relevant to the outcomes of the unit; or,

where the assessor does not meet experience requirements a co-assessment or partnership arrangement must exist between the qualified assessor and an Industry subject matter expert. The Industry subject matter expert should hold the unit being assessed (or an equivalent unit) and/or demonstrate equivalence of skills and knowledge at the unit level. An Industry technical expert must also demonstrate skills and knowledge from the minimum years of current work experience specified below in the Industry sector, including time spent in roles related to the unit being assessed; and,

assessor and Industry subject matter expert requirements differ depending on the Australian Qualifications Framework Level (AQF) of the qualification being assessed and/or Industry Sector as follows:

| Industry sector | AQF** Level | Required assessor or Industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Construction | 1 | 1 Year |
|  | 2 | 2 Years |
| Drilling, Coal Mining and Extractive (Quarrying) | 3-6 | 3 Years |
| Metalliferous Mining and Civil Construction | 3-6 | 5 Years |
| Other sectors | Where this Unit is being assessed outside of the Resources and Infrastructure Sectors assessor and/or Industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no Industry standard is specified should comply with any relevant regulation. |  |

*Assessors can demonstrate current work experience through employment within Industry in a role relevant to the outcomes of the Unit; or, for external assessors this can be demonstrated through exposure to Industry by conducting frequent site assessments across various locations.

**Where a unit is being delivered outside of a Qualification the first numeric character in the Unit code should be considered to indicate the AQF level

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272