# RIIWMG203E Drain and dewater civil construction sites

Release: 1

RIIWMG203E Drain and dewater civil construction sites

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Application

This unit describes the skills and knowledge required to drain and dewater civil construction sites. This includes establishing sedimentation controls, constructing sumps, installing surface or submersible pumps, and draining surface water using surface drains.

It applies to those working in operational roles. They generally work under supervision to undertake a prescribed range of functions involving known routines and procedures and take some responsibility for the quality of work outcomes.

Licensing, legislative and certification requirements that apply to this unit can vary between states, territories and industry sectors. Users must check requirements with relevant body before applying the unit.

# Unit Sector

Civil construction

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare to drain and dewater | 1.1 Obtain, interpret, clarify and confirm work requirements 1.2 Access, interpret and apply documentation required to drain and dewater civil construction sites 1.3 Obtain and interpret emergency procedures and identify steps required to respond to emergencies 1.4 Select and wear personal protective equipment according to site requirements 1.5 Confirm and identify requirements for complying with environmental protection, safety and traffic management signage requirements 1.6 Identify potential hazards and environmental issues, implement control measures within scope of own role and escalate where required 1.7 Select plant, tools and equipment required to carry out tasks and check for faults 1.8 Identify, confirm and locate materials required for work application |
| 2. Implement sedimentation control measures | 2.1 Position sedimentation controls according to job requirements 2.2 Construct sedimentation control barriers according to job requirements 2.3 Position geotextiles according to job requirements |
| 3. Remove surface water | 3.1 Establish temporary drainage systems to drain or divert water to storm water drainage system 3.2 Remove slab and site surface water and direct to temporary drainage system 3.3 Fill surface holes and depressions according to job requirements 3.4 Drain surface water to drainage system |
| 4. Construct sump | 4.1 Determine sump position according to job specifications and sump positioning requirements 4.2 Construct sumps according to job requirements |
| 5. Remove water from sump | 5.1 Install surface or submersible pumps according to job requirements 5.2 Locate surface pump close to sump 5.3 Pump water to temporary drainage system 5.4 Disperse discharged water according to job and site requirements |
| 6. Conduct clean-up activities | 6.1 Clear work area and dispose of or recycle materials according to site requirements 6.2 Clean, check, perform maintenance on and store plant, tools and equipment according to manufacturer specifications and site requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| SKILL | DESCRIPTION |
| --- | --- |
| Oral communication | Identifies and interprets information from verbal instructions Conveys information and instructions to others verbally |
| Self-management | Monitors and minimises own exposure to worksite risks and hazards during work activities |

# Unit Mapping Information

Supersedes and is equivalent to RIIWMG203D Drain and dewater civil construction site.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272

Assessment Requirements for RIIWMG203E Drain and dewater civil construction sites

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with RII Resources and Infrastructure Industry Training Package Version 6.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

drain and dewater civil construction sites on at least two occasions, including:

dewatering a trench or pit using a pump

selecting and establishing sedimentation controls

selecting, installing and using surface or submersible pumps

pumping and dispersing surface and sub-surface water

draining surface water from a site using surface drains.

During the above, the candidate must:

locate and apply required legislation, documentation, policies and procedures

identify, report and record hazards and risks

work with others to drain and dewater civil construction sites that meet required outcomes, including:

using communication techniques and equipment to convey information to others, including signage to advise others of work activity and exclusion zones

communicating with others to receive and clarify work instructions

completing written and verbal reporting requirements and procedures.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

legislation required to drain and dewater civil construction sites

policies, procedures and documentation required to drain and dewater civil construction sites, including those relating to:

hazard and risk management

work health and safety

emergency response

site and equipment safety

environmental protection

waste management

communication techniques and equipment

site isolation and traffic control responsibilities

operational, maintenance and basic diagnostic procedures

project quality requirements

work instructions

job plans and specifications

site requirements

manufacturer specifications for required plant and equipment

workplace recording and reporting

principles and techniques required to drain and dewater civil construction sites, including those relating to:

dewatering

areas to be drained

drainage systems

project sites

sedimentation controls

sump positioning

interpreting engineering drawings

types, characteristics, technical capabilities and limitations of plant and equipment required to drain and dewater civil construction sites, including:

hoses

shovels

pumps

plastic piping

silt fences

materials safety data sheet (SDS) compliance processes

components of job safety analyses (JSAs), job safety environmental analyses (JSEAs), and safe work method statements (SWMs)

civil construction terminology relating to draining and dewatering civil construction sites.

# Assessment Conditions

Mandatory conditions for assessment of this unit are stipulated below. The assessment must:

include access to:

personal protective equipment

equipment required to drain and dewater civil construction sites

be conducted in a safe environment; and,

be assessed in the context of this sector’s work environment; and,

be assessed in compliance with required legislation/regulation and using policies, procedures and processes directly related to the industry sector for which it is being assessed; and,

confirm consistent performance can be applied in a range of relevant workplace circumstances.

Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated work environment* provided it is realistic and sufficiently rigorous to cover all aspects of this sector’s workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessor requirements

Assessors must be able to clearly demonstrate current and relevant industry knowledge and experience to satisfy the mandatory regulatory standards as set out in the Standards for Registered Training Organisations 2015/Australian Quality Training Framework mandatory requirements for assessors current at the time of assessment and any relevant licensing and certification requirements. This includes:

vocational competencies at least to the level being delivered and assessed

current industry skills directly relevant to the training and assessment being provided

current knowledge and skills in vocational training and learning that informs their training and assessment

formal relevant qualifications in training and assessment

having knowledge of and/or experience using the latest techniques and processes

possessing the required level of RII training product knowledge

having an understanding and knowledge of legislation and regulations relevant to the industry and to employment and workplaces

demonstrating the performance evidence, and knowledge evidence outlined in this unit of competency, and

the minimum years of current** work experience after competency has been obtained as specified below in an industry sector relevant to the outcomes of the unit.

It is also acceptable for the appropriately qualified assessor to work with an industry expert to conduct assessment together and for the industry expert to be involved in the assessment judgement. The industry expert must have current industry skills directly relevant to the training and assessment being provided. This means the industry subject matter expert must demonstrate skills and knowledge from the minimum years of current work experience after competency has been obtained as specified below, including time spent in roles related to the unit being assessed:

| #### Industry sector | #### AQF indicator level*** | #### Required assessor or industry subject matter expert experience |
| --- | --- | --- |
| Drilling, Metalliferous Mining, Coal Mining, Extractive (Quarrying) and Civil Infrastructure | 1 | 1 year |
|  | 2 | 2 years |
| Drilling, Coal Mining, Extractive (Quarrying), Metalliferous Mining and Civil Infrastructure | 3-6 | 3 years |
| Other sectors | Where this unit is being assessed outside of the resources and infrastructure sectors assessor and/or industry subject matter expert experience should be in-line with industry standards for the sector in which it is being assessed and where no industry standard is specified should comply with any relevant regulation. |  |

*Guidance on simulated environments has been stipulated in the RII implementation guide located on VETNet.

**Assessors can demonstrate current work experience through employment within industry in a role relevant to the outcomes of the unit; or, for external assessors this can be demonstrated through exposure to industry by conducting a minimum number of site assessments as determined by the relevant industry sector, across various locations.

*** While a unit of competency does not have an AQF level, where a unit is being delivered outside of a qualification the first numeric character in the unit code should be considered as the AQF indicator level for assessment purposes.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=88a61002-9a21-4386-aaf8-69c76e675272