# RIICWD525A Select pavement surfacing

Release: 1

RIICWD525A Select pavement surfacing

# Modification History

Not applicable.

# Unit Descriptor

This unit covers the completion of the selection and documentation of pavement surfacing in Civil Construction.  It includes the preparation and planning for the selection, undertaking of the selection, finalisation of the selection processes and supporting the application of the selection.

# Application of the Unit

This unit requires the identification of selection inputs, production of calculations, drawings, selection options and solutions and specifications required for the completion of pavement surfacing works, it does not include the certification of the selection. This unit is appropriate for those working in a management role or as a technical specialist, for the completion of the selection and documentation of pavement surfacing within:

Civil construction

# Licensing/Regulatory Information

Refer to Unit Descriptor.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Plan for the selection of pavement surfacing | 1.1. Access, interpret and apply compliance documentation relevant to the work activity 1.2. Identify and confirm the pavement surfacing project requirements and information for the completion of the selection 1.3. Prepare a selection plan which makes best use of the available resources and meets the selection requirements |
| 2. Undertake the selection of pavement surfacing | 2.1. Interpret and analyse the relevant data and identify the available viable options for the selection of pavement surfacing 2.2. Interpret and analyse relevant data and recommend the preferred option that best meets the required project outcomes 2.3. Complete the selection of the pavement surfacing that safely, effectively and efficiently meets the required project outcomes 2.4. Prepare a cost estimate of the execution of the selected pavement surfacing 2.5. Participate in the review of the pavement surfacing selection with peers and stakeholders 2.6. Complete the documentation of the pavement surfacing selection 2.7. Monitor and coordinate the progress of other team members involved in the selection process 2.8. Gain selection approval |
| 3. Finalise selection processes of pavement surfacing | 3.1. Ensure filing of selection records is completed 3.2. Complete and submit selection cost and other reporting 3.3. Participate in performance review of the selection process 3.4. Seek client feedback and contribute to the verification of the selection 3.5. Close out all systems |
| 4. Support and review the application of the selection of pavement surfacing | 4.1. Provide clarification and advice to those applying the selection 4.2. Review the application of the selection and recommend changes for the continuous improvements of pavement surfacing selections 4.3. Contribute to the validation of the selection |

# Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.

Required skills

Specific skills are required to achieve the performance criteria in this unit, particularly for the application in the various circumstances in which this unit may be applied. This includes the ability to carry out the following as required to complete the selection and documentation of pavement surfacing: apply legislative, organisation and site requirements and procedures interpret plans and drawings interpret specifications interpret selection briefs interpret Australian and other appropriate standards interpret engineering survey information interpret hydrological data interpret geotechnical information interpret pavement surfacing materials and product test results interpret meteorological data interpret cultural and heritage data carry out risk assessments interpret pavement surfacing selection data determine pavement surfacing loadings and capacity requirements select pavement surfacing options determine traffic category to be used in pavement surfacing selection and design provide leadership and coordination choose appropriate construction techniques develop and apply selection plans apply computer aided design technology apply industry or government standard selection software apply engineering graphical presentation techniques calculate of areas, volumes, density, mass, grades, loads and stresses maintain selection cost records maintain selection records provide clarification and advice apply client feedback techniques

Required knowledge

Specific knowledge is required to achieve the Performance Criteria of this unit, particularly its application in a variety of circumstances in which the unit may be used. This includes knowledge of the following, as required to complete the selection and documentation of pavement surfacing: risk assessment and management requirement and procedures statutory compliance requirements and procedures occupational health and safety requirements and procedures road safety issues, requirements and procedures environmental management requirements and procedures cultural and heritage requirements and procedures community expectations quality management requirements and procedures communication requirements and procedures Australian and other relevant standards requirements and procedures industry and organisational selection procedures and practice pavement surfacing options and their characteristics potential hazards, constraints and conditions that may affect pavement surfacing selection and construction current industry best practice in pavement surfacing selection and construction techniques for choosing preferred options team leadership techniques operational techniques required for the execution of pavement surfacing construction tasks pavement surfacing construction plant and equipment capabilities cost estimation techniques selection review principles and procedures documentation requirements reporting requirements and procedures selection approval requirements and procedures selection records filing requirements and procedures performance review requirements and procedures systems close out requirements and procedures existing pavement assessment requirements and procedures

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Overview of assessment |  |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | The evidence required to demonstrate competency in this unit must be relevant to worksite operations and satisfy all of the requirements of the performance criteria, required skills and knowledge and the range statement of this unit and include evidence of the following: knowledge of the requirements, procedures and instructions for the completion of the selection and documentation of pavement surfacing implementation of procedures and techniques for the safe, effective and efficient completion of the selection and documentation of pavement surfacing the identification of the relevant information and scope of the work required to meet the required outcomes the identification of viable options and the selection of documentation of pavement surfacing that best meet the required outcomes working with others to undertake and complete the selection and documentation of pavement surfacing consistent successful completion of the selection and documentation of pavement surfacing |
| Context of and specific resources for assessment | This unit must be assessed in the context of the work environment. Where personal safety or environmental damage are limiting factors, assessment may occur in a simulated environment provided it is realistic and sufficiently rigorous to cover all aspects of workplace performance, including task skills, task management skills, contingency management skills and job role environment skills. The assessment environment should not disadvantage the participant. For example, language, literacy and numeracy demands of assessment should not be greater than those required on the job. Customisation of assessment and delivery environment to sensitively accommodate cultural diversity. Aboriginal people and other people from a non English speaking background may have second language issues. Assessment of this competency requires typical resources normally used in a civil works environment. Selection and use of resources for particular worksites may differ due to site circumstances. Where applicable, physical resources should include equipment modified for people with disabilities. Access must be provided to appropriate learning and/or assessment support when required. |
| Method of assessment | This unit may be assessed in a holistic way with other units of competency. The assessment strategy for this unit must verify required knowledge and skill and practical application using more than one of the following assessment methods: written and/or oral assessment of the candidate's required knowledge to apply in undertaking of the completion of the selection and documentation of pavement surfacing observed, documented and/or first hand testimonial evidence of the candidate's: implementation of appropriate procedures and techniques for the safe, effective and efficient achievement of the required outcomes identification of the relevant information and scope of the work required to meet the required outcomes identification of viable options and the selection of documentation of pavement surfacing that best meet the required outcomes consistently achieving the required outcomes first hand testimonial and documentary evidence of the candidate's: working with others to undertake and complete the selection and documentation of pavement surfacing provision of clear and timely required support and advice on the completion of the selection and documentation of pavement surfacing |
| Guidance information for assessment | Consult the SkillsDMC User Guide for further information on assessment including access and equity issues. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| --- | --- |
| Relevant compliance documentation may include: | legislative, organisational and site requirements and procedures manufacturer's guidelines and specifications Australian standards code of practice Employment and workplace relations legislation Equal Employment Opportunity and Disability Discrimination legislation |
| Confirm may include: | consultation with the client consultation with others within the organisation consultation with relevant authorities conducting a risk assessment of the existing and potential hazards obtaining further site data, including: known and potential hazards, constraints and conditions cultural and heritage data geological data geotechnical data hydrological data survey data meteorological data |
| Pavement surfacing may include: | sprayed sealing asphalt cold mix slurry and micro-surfacing |
| Pavement surfacing may include its application on: | new pavement construction existing pavement maintenance and rehabilitation motorways, rural and urban roads bridges car parks industrial hardstands airfields recreational facilities urban and rural pathways |
| Project requirements and information may include: | project specifications contractual requirements client's requirements project site geological data project site hydrological data project site engineering survey data project site cultural and heritage constraints existing project design and drawings Australian or other relevant standards |
| Selection plan may include: | human resource requirements selection hardware and software coordination requirements scheduling review requirements selection process communication and reporting requirements |
| Preferred option factors may include: | cost site constraints available resources risk assessment of: the existing conditions the application of the design maintainability of the completed works |
| Selection may include: | calculations, including: pavement loading pavement stresses construction materials and services quantities construction cost estimates drawings risk assessment of: the existing conditions the application of the selection, and maintainability of the works health, safety and environmental requirements contribution to ancillary documentation, which may include: selection notes construction notes supplementary drawings input to the specifications |

# Unit Sector(s)

Civil Works Design

# Competency field

Refer to Unit Sector(s).

# Co-requisite units

Not applicable.