# Assessment Requirements for SFIAQU212 Operate and maintain a recirculating aquaculture system

Release: 2

Assessment Requirements for SFIAQU212 Operate and maintain a recirculating aquaculture system

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with SFI Seafood Industry Training Package Version 2.0. |
| Release 1 | This version released with SFI Seafood Industry Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has safely operated and maintained at least one recirculating aquaculture system on at least one occasion, including:

communicating with and reporting to supervisor about the operation and maintenance of water treatment components

fitting and adjusting personal protective equipment

carrying out the required maintenance and repairs to components

carrying out routine monitoring and checks of equipment, flow rates and water quality

completing accurate records on the operation and maintenance of water treatment components

cleaning work area and storing tools and equipment after maintenance and repair activities.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

basic relationship of inputs (stock, feed, energy, water and labour) to outputs (wastes, product and water quality)

overview of complexity of system and interrelationship of components

environmental and biosecurity regulatory requirements

conditions likely to impact on water flow

health and safety relevant to operating and maintaining water treatment components

operation and maintenance of automatic or mechanised equipment

features of water quality and optimal and critical limits for various parameters and non-standard conditions.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in an aquaculture workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

basic tools and equipment to complete repairs and maintenance

equipment to operate the system and maintain water quality

personal protective equipment

recirculating aquaculture system (RAS) with high technology components

spare parts and repair materials

water monitoring equipment

data or recording sheets

specifications:

specific instructions, work plan or schedule and workplace procedures for operating and maintaining high technology water treatment components

relationships:

evidence of interactions with supervisor.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=e31d8c6b-1608-4d77-9f71-9ee749456273