# Assessment Requirements for SHBBSKT003 Identify and control safety risks for light-based skin treatments

Release: 1

Assessment Requirements for SHBBSKT003 Identify and control safety risks for light-based skin treatments

# Modification History

No equivalent unit.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

identify three safety hazards and complete three risk assessments in at least one of the following:

an intense pulsed light treatment environment

a LED treatment environment

a laser treatment environment

develop, implement and maintain safety practices and risk control measures to respond to safety hazards associated with use of at least one of the following:

intense pulsed light

a LED treatment environment

laser

for each of the above:

record workplace documentation and checks for the maintenance of equipment

complete workplace health and safety reporting related to intense pulsed light, LED or laser hair reduction treatments

during risk assessments, follow organisational policies and procedures, non-ionising radiation safety protection plan and relevant state or territory laws, codes and guidelines related to the use of intense pulsed light, LED and laser for hair reduction.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

key aspects of current legislation, regulation and industry standards and guidelines relevant to intense pulsed light, LED and laser skin treatments:

laser classification and hazard analysis

maintenance and auditing of facilities

equipment inspection and maintenance protocols

investigation and management of intense pulsed light and laser incidents

personal protective equipment

potential for fire and explosion and protection against flammability hazards

management of airborne contaminants

meeting licence requirements according to each state

applying for a licence according to each state

electrical safety laser-controlled treatment areas:

designation

warning signs

entry controls

control of access to the laser

equipment classification

safety of intense pulsed light, LED and laser products

intense pulsed light and laser hazards:

beam hazards

non-beam hazards

types of safety hazards related to intense pulsed light, LED and laser skin treatment:

ocular and skin

equipment specific

reflected beams

fire, explosive, electrical and environmental

risk and hazard management including risk assessment

hierarchy of hazard control:

engineering controls

administration controls

personal protective equipment

quality assurance testing and preventive maintenance

safe work practices

control measures applied to minimise health and safety risks during intense pulsed light, LED and laser skin treatments:

pre-treatment patch testing

personal protective equipment:

eye protection

masks

gowns

gloves

ventilation systems

filtering and exhaust systems

window coverings

draping of treatment environment

organisational work health and safety policies and procedures for:

identifying hazards

assessing risk

controlling risk

non-ionising radiation safety protection plan

ergonomics

safe use of electrical equipment

safe use of intense pulsed light, LED and laser equipment

equipment preventive maintenance:

documentation, including:

equipment safety standards

equipment service history

schedule for recommended testing and maintenance

regular testing

biophysics of laser and intense pulsed light technologies as outlined in AS/NZS 4173:2018, Safe use of lasers and intense light sources in health care or its replacement

how light energy interacts with skin and hair

physics of light related to intense pulsed light, LED and laser treatments:

energy forms

electromagnetic spectrum

optical region of the electromagnetic spectrum

wavelengths

characteristics of a wave

operational characteristics of lasers:

programmable systems

basic set-up (manual choice)

generation of laser beam and propagation of light

characteristics of laser beams

properties of different types of lasers

optical pathways

delivery systems and applicators used for skin treatments

operational characteristics of intense pulsed light apparatus:

programmable systems

basic set-up (manual choice)

powerful systems

significantly lower power systems

common differences in imported systems

chilled sapphire or similar optical substance head

non-chilled sapphire head

non-laser light source

characteristics of flashlamp

capacitors - free discharge and partial discharge

different filters

properties of intense pulsed light equipment

laser controls:

emergency control

delivery systems

ionising and non-ionising radiation

parameters that effect the delivery of light during intense pulsed light and laser treatments:

spectrum of delivered wavelengths as determined by cut-off filters

number of delivered pulses, including single and multiple pulsed shots

pulse duration in milliseconds

delay between pulses in milliseconds

delivered fluence

laser hazards

operational characteristics of LED:

basic set-up (manual choice)

generation of light emitting diodes and propagation of light

characteristics of LED

types of light wavelengths

properties of LED equipment.

# Assessment Conditions

Skills must be demonstrated in a skin treatment area; this can be:

an industry workplace, or

a simulated industry environment.

Assessment must ensure access to:

documentation related to intense pulsed light, LED and laser treatments:

organisational policies and procedures

workplace reporting documentation and templates

current standards and guidelines:

AS/NZS 4173:2018 Safe use of lasers and intense light sources in health care

AS/NZS IEC 60825.1:2014 Safety of laser products – Part 1: Equipment classifications and requirements

AS/NZS 1336:2014 Eye and face protection – Guidelines

AS/NZS IEC 62471:2011 Photobiological safety of lamps and lamp systems

key aspects of relevant local, federal, state or territory, legislation and regulations relating to use of intense pulsed light and laser for skin treatments

manufacturer instructions and safety data sheets

non-ionising radiation safety protection plan

a clinical treatment area:

as per relevant state or territory legislation either, or both, of the following:

a radiation warning sign

an illuminated light above door

non-flammable screens fitted inside all windows to protect a person outside window from non-ionising radiation levels greater than maximum permissible exposure from radiation

ventilation designed to ensure that airborne hazards are not passed downstream in air handling or exhaust system

fire extinguishing equipment

sufficient clinical lighting

magnifying lamp

eye protection equipment for practitioners and clients compliant with AS/NZS 1336:2014 Eye and face protection – Guidelines

disposable masks

equipment which, when energised, can emit an amount of non-ionising radiation higher than accessible limit for a Class 3B laser for relevant period stated in, and measured in accordance with, laser standards AS2211. This must include a Class 4 laser or equivalent in the case of IPL

one or more of the following:

cosmetic laser equipment that:

can treat Fitzpatrick skin types one to six

is registered for purpose on the Australian Register of Therapeutic Goods

intense pulsed light equipment that is registered for purpose on the Australian Register of Therapeutic Goods and has one or more of the following characteristics:

programmable

manual

multiple pulsed shots

single pulsed shots

appropriate cooling delivery systems

one or minimal choice of filters

multiple filters

LED devices which are registered for purpose on the Australian Register of Therapeutic Goods

activities that require the individual to work within commercially realistic timing and productivity.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors, and:

have worked for at least three years where they have applied the skills and knowledge of this unit of competency.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=255d312b-db07-48f2-b6d6-1b0b06c42898