# SHBBSKT006 Design laser skin treatment programs

Release: 1

SHBBSKT006 Design laser skin treatment programs

# Modification History

No equivalent unit.

# Application

This unit describes the performance outcomes, skills and knowledge required to design laser treatment programs to improve the appearance of skin at an epidermal level. It requires the ability to design a staged program of multiple light-based treatments that will achieve optimum outcomes for the client.

This unit applies to skin therapists who work in beauty salons or skin clinics where skin therapy is provided.

The unit reflects the safety guidelines, for a broad range of laser dermal applications, expressed in the following Australian and New Zealand Standards, current at the time of publication:

AS/NZS 4173:2018 Safe use of lasers and intense light sources in health care

AS/NZS IEC 60825.1:2014 Safety of laser products Part 1: Equipment classifications and requirements

AS/NZS 1336:2014 Eye and face protection - Guidelines.

The skills in this unit must be applied in accordance with Commonwealth and State or Territory legislation, Australian standards and industry codes of practice.

The use of laser is subject to legislation, regulation and licensing in some Australian States and Territories.

# Pre-requisite Unit

| Unit Code | Unit Title |
| --- | --- |
| SHBBINF002 | Maintain infection control standards |
| Or; |  |
| HLTINF005 | Maintain infection prevention for skin penetration treatment |
| SHBBSKT003 | Identify and control safety risks for light-based skin treatments |

# Competency Field

Skin Therapy

# Unit Sector

Beauty

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Confirm skin treatment program with client. | 1.1. Discuss proposed treatment with client and review pre-treatment documentation. 1.2. Analyse indications for treatment, contraindications and client feedback and modify treatment plan. 1.3. Advise client of possible physical effects of laser treatments, special precautions to be observed, pre- and post-treatment and homecare required. 1.4. Explain contraindications which prevent treatment and recommend suitable alternative treatments. 1.5. Refer client to an appropriate professional where required. 1.6. Identify the treatment implications for combining laser skin treatment technologies with other skin services 1.7. Identify and discuss options or limitations for future treatments according to client characteristics, expectations and contraindications. 1.8. Obtain medical approval to proceed if client has medically-related contraindications or precautions. 1.9. Obtain signed informed consent, if not previously obtained. |
| 2. Perform laser patch test. | 2.1. Explain sensation of the test before commencing. 2.2. Select treatment parameters based on client consultation and analysis. 2.3. Select small area on periphery to proposed treatment site and apply a small number of pulses. 2.4. Comply with health and hygiene regulations and requirements. 2.5. Record settings according to organisational requirements. 2.6. Observe and record immediate reactions to establish end point. 2.7. Use end point to design a safe and effective treatment. 2.8. Apply post treatment skin cooling products according to treatment plan and skin reaction to patch test. 2.9. Observe and record skin response after three to seven days. |
| 3. Design a treatment program and discuss with client. | 3.1. Determine appropriate treatment program according to client assessment and within safe practice protocols. 3.2. Discuss with client the proposed treatment plan, risks, costs, likely duration, frequency of treatment and likely recovery time. 3.3. Confirm client compliance with special precautions and written pre- and post-treatment home care responsibilities. 3.4. Discuss management of selected treatment in relation to other treatments or lifestyle factors. 3.5. Photograph treatment area ensuing images are clear and comparable. 3.6. Code and file images to enable comparisons and evaluation of outcomes. 3.7. Complete and store treatment documentation according to organisational policies and procedures. |

# Foundation Skills

| Foundation skills essential to performance in this unit, but not explicit in the performance criteria are listed here, along with a brief context statement. |  |
| --- | --- |
| SKILLS | DESCRIPTION |
| Reading skills to: | source, interpret and critically analyse: scientific or technical documents related to laser technology and its effects on skin skin treatment publications manufacturer instructions and promotions trade publications organisational procedures. |
| Oral communication skills to: | sensitively and supportively discuss client needs and negotiate with clients use medical terminology appropriately in consultations with clients, colleagues and health care professionals. |
| Numeracy skills to: | interpret manufacturer instructions and calculate treatment parameters, timing and costs. |
| Problem-solving skills to: | identify treatment limitations for specific clients, select and recommend alternative solutions. |
| Initiative and enterprise skills to: | promote treatments to existing and new clients. |
| Planning and organising skills to: | sequence treatments into an effective skin therapy plan identify appointment times and negotiate with colleagues for access to equipment and rooms. |
| Self-management skills to: | manage length of consultation recognise scope of practice issues and refer clients to colleagues or health care professional. |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=255d312b-db07-48f2-b6d6-1b0b06c42898

Assessment Requirements for SHBBSKT006 Design laser skin treatment programs

# Modification History

No equivalent unit.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of job role, and:

consult with at least three different clients, each with different Fitzpatrick skin types and treatment needs

for each of the above clients:

complete patch tests on each area proposed for treatment, and evaluate results

design and document a laser skin treatment program

record information obtained through all client consultation, observation and patch testing

during all consultations and patch tests, consistently follow organisational policies and procedures, non-ionising radiation safety protection plan and relevant state or territory laws, codes and guidelines related to the use of laser for cosmetic treatments.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

current local, state or territory health legislation, regulation and industry standards and guidelines relevant to laser skin treatments:

non-ionising radiation protection

skin penetration

work health and safety

organisational policies and procedures

non-ionising radiation safety plan

organisational product and equipment range and manufacturer instructions and safety data sheets

practitioners legal and insurance liabilities and responsibilities for laser skin treatment:

role and importance of indemnity insurance

potential risks, liabilities and consequences of non-coverage

scope of practice

indications for treatment:

epidermal texture thickening

superficial lines and rhytids

epidermal pigmentation

epidermal scars:

hypertrophic

post inflammatory hyper pigmentation

diffuse redness, erythema and telangiectasias

acne

contraindications and their relationship to laser skin treatments:

albinism

pre-treatment sun exposure

artificially tanned skin

pregnancy

herbal remedies

active herpes simplex

active impetigo

active eczema

active acne

photo-sensitive:

medication

conditions

hypertrophic and keloid scars

artificial pigment in the treatment area

psoriasis in the treatment area

certain circulatory conditions

pregnancy

connective tissue disorders including scleroderma

prior surgery

birthmarks, moles and pigmented lesions

open wounds or abraded skin

moles or tattoos to be covered

for the above listed contraindications:

appearance and identification

required action and treatment precautions

instances where treatment should not occur

instances where recommendation to seek advice of other professionals should be provided

medical contraindications, their relationship to laser treatments, and required action and treatment precautions:

conditions already being treated by a general practitioner, dermatologist or skin therapist

medical oedema

recent surgery

diabetes

asthma

epilepsy

skin cancers

appearance of complications and adverse effects and their causes:

pigmentation changes

blistering

scarring and textural changes

areas unsuitable for treatment:

eye orbital area

infra-orbital

mucosal surfaces

principles of light energy and how it interacts with skin

different types of laser equipment and their recommended use and application, including cooling applications

factors governing treatment parameters:

wavelength

fluence

pulse width

pulse delay

repetition rate

spot size

cooling settings

factors affecting treatment planning:

patch test results

skin type and condition

skin healing and reaction

areas treated and extent of area to be treated

client finance

pain tolerance

effects, risks and benefits of laser skin treatments

causes, appearance and management of skin reactions to laser patch testing:

blistering

scarring and textural changes

pigmentation changes

symptoms, histology and molecular mechanisms of photoaging

typical features, skin tanning and healing responses of:

the six Fitzpatrick skin types

Glogau and Rubin skin classifications

acne grades and types

alternative cosmetic medical treatments for ageing and for acne skin

anatomy and physiology of the skin and skin structures as they relate to light technology skin treatments, including:

normal skin response to irritation and trauma

scars, including hypertrophic and keloid (their origin and evolution) and abnormal scar tissue

effects of laser skin treatments on physical structure of the skin

chromophores type and location within the skin

wound healing in different skin types and locations

normal, abnormal and delayed wound healing

post-treatment care procedures:

low-frequency laser and healing products:

cold compress

cryogen sprays

cold gels

post-treatment advice:

use of cooling gels

lifestyle advice

protecting treatment area from sunlight for specified time

care of treatment area

interval between treatments

precautions prior to next treatment:

30 days prior to treatment: sun exposure and solarium treatments

14 days prior to treatment: use of self-tanning products.

# Assessment Conditions

Skills must be demonstrated in a skin treatment area; this can be:

an industry workplace

a simulated industry environment set up for the purposes of assessment.

Assessment must ensure access to:

relevant documentation including:

AS/NZS 4173:2018 Safe use of lasers and intense light sources in health care

AS/NZS IEC 60825.1:2014 Safety of laser products Part 1: Equipment classifications and requirements

AS/NZS 1336:2014 Eye and face protection - Guidelines

Product manufacturer instructions and material safety data sheets

organisational policies and procedures relevant to use of laser technology for use in skin therapy.

Assessment must ensure use of:

radiation warning signs stating ‘warning laser in operation do not enter when light above door is illuminated’

non-flammable screens fitted inside windows to protect a person outside the window from non-ionising radiation levels greater than maximum permissible exposure to radiation

ventilation designed to ensure that infective agents are not passed downstream in air handling or exhaust system

fire extinguishing equipment, such as fire extinguishers, fire blankets and wet cloth drapes

personal protection equipment for client and operator

laser equipment which:

when energised, can emit an amount of non-ionising radiation higher than accessible limit for a Class 3B laser for the relevant period stated in, and measured in accordance with, the laser standard AS2211

can treat Fitzpatrick skin types one to six

is registered for purpose on the Australian Register of Therapeutic Goods

laser clinical treatment environment that includes:

treatment table

magnifying lamp

eye protection equipment for clients and operators

disposable operator masks

single use wipes

skin grid pencils

conductive gel

cooling post-treatment products

organisational laser safety plan

cleaning and disinfecting equipment and products

professional skin care range

real people with different skin types seeking skin treatments

activities that reflect industry practice and allow the individual to work with commercial timing and productivity to complete client treatments within designated timeframes.

Assessment must be directly observed, in person, for the total duration of each laser client consultation and patch test, by assessors who meet the assessor requirements outlined below.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors and:

have worked for at least three years where they have applied the skills and knowledge of this unit of competency.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=255d312b-db07-48f2-b6d6-1b0b06c42898