# SHBBSKT007 Provide laser skin treatments

Release: 1

SHBBSKT007 Provide laser skin treatments

# Modification History

No equivalent unit.

# Application

This unit describes the performance outcomes, skills and knowledge required to safely apply laser technologies as part of staged programs to improve the appearance of the skin. It requires the ability to provide multiple treatments and to modify the treatment program to achieve optimum outcomes for the client within the safety framework that relates to the use of laser equipment.

This unit applies to skin therapists who work in beauty salons or skin clinics where skin therapy is provided.

The skills and knowledge required to assess a client, and design and plan skin treatment programs using light technologies are covered in SHBBSKT006 Design laser skin treatment programs.

The unit reflects the safety guidelines, for a broad range of laser applications, expressed in the following Australian and New Zealand Standards, current at the time of publication:

AS/NZS 4173:2018 Safe use of lasers and intense light sources in health care

AS/NZS IEC 60825.1:2014 Safety of laser products Part 1: Equipment classifications and requirements

AS/NZS 1336:2014 Eye and face protection - Guidelines.

The skills in this unit must be applied in accordance with Commonwealth and State or Territory legislation, Australian standards and industry codes of practice.

The use of laser is subject to legislation, regulation and licensing in some Australian States and Territories.

# Pre-requisite Unit

| Unit Code | Unit Title |
| --- | --- |
| SHBBINF002 | Maintain infection control standards |
| Or; |  |
| HLTINF005 | Maintain infection prevention for skin penetration treatment |
| SHBBSKT003 | Identify and control safety risks for light-based skin treatments |

# Competency Field

Skin Therapy

# Unit Sector

Beauty

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare treatment environment and equipment. | 1.1. Access and review agreed client treatment program if available to determine requirements for individual treatment. 1.2. Check that treatment environment is correctly organised and free from safety risks and hazards. 1.3. Confirm completion of risk assessment and equipment checks and take any required corrective action. 1.4. Set up equipment and check to ensure correct functioning as per manufacturer instructions and safe practice protocols. 1.5. Cleanse and prepare treatment area and sanitise equipment prior to use on client. 1.6. Complete workplace and pre-treatment documentation required for treatment environment and equipment preparation. |
| 2. Prepare self and client. | 2.1. Identify need for and receive signed medical approval to proceed with treatment from client. 2.2. Review pre-treatment documentation and confirm treatment program with client. 2.3. Determine, through discussion and questioning, changes to client medical history and contraindications arising since time of treatment program development. 2.4. Review outcomes of patch test to confirm no existence of allergies or adverse effects that will require change to treatment program. 2.5. Adjust treatment program to reflect identified changes and obtain signed client consent for adjusted treatment program. 2.6. Explain treatment process and likely sensations to client to ensure client comfort. 2.7. Identify jewellery worn by self and client and remove, or where not removable, tape according to organisational policies and procedures. 2.8. Fit and adjust personal protective equipment, including eye protection, to self, client and others who may be present during treatment. 2.9. Maintain infection control procedures throughout treatment. |
| 3. Provide laser skin treatment. | 3.1. Follow organisational policies and procedures, laser safety plan and legislative requirements to apply laser according to treatment program. 3.2. Explain treatment and sensation, and reassure client throughout each stage of treatment process. 3.3. Perform a test shot according to treatment settings and in an area relevant to treatment site. 3.4. Observe immediate skin reaction and level of client discomfort. 3.5. Modify treatment program plan and re-adjust and record treatment settings where indicated by an immediate adverse skin reaction or client poor pain tolerance. 3.6. Start treatment on least pain sensitive area. 3.7. Apply equipment to treatment areas for required amount of time. 3.8. Work sequentially on target area, avoiding repeat treating any area immediately after first shot. 3.9. Turn off equipment and photograph treated skin areas at completion of treatment service. |
| 4. Review treatment and provide post-treatment advice. | 4.1. Select and apply post-treatment skin cooling products according to treatment plan and client reaction to treatment. 4.2. Advise client on post-treatment and self-care and ask questions to confirm client understanding. 4.3. Advise client on client care and precautionary requirements for period leading up to next treatment. 4.4. Record treatment and adjust treatment plan to reflect treatment and outcomes. 4.5. Complete post-treatment documentation according to organisational policies and procedures. 4.6. Initiate follow-up to check for post-treatment complications and adverse effects according to organisational policies and procedures. |

# Foundation Skills

| Foundation skills essential to performance in this unit, but not explicit in the performance criteria are listed here, along with a brief context statement. |  |
| --- | --- |
| SKILLS | DESCRIPTION |
| Reading skills to: | interpret both familiar and unfamiliar, and sometimes complex documents: client treatment programs client records organisational policies and procedures non-ionising radiation safety protection plan materials describing industry standards and regulatory requirements of skin therapy manufacturer instructions for the safe use, maintenance and storage of laser equipment. |
| Writing skills to: | clearly and legibly make amendments to treatment plan. |
| Oral communication skills to: | consult with, inform and reassure clients throughout treatment process respond to client questions and provide information to client throughout treatment process select and use appropriate dermal and medical terminology in consultations with clients, colleagues and health care professionals. |
| Numeracy skills to: | calculate and modify equipment settings. |
| Learning skills to: | review own skills in application of technology and schedule time for development. |
| Problem-solving skills to: | identify and resolve application issues during treatment. |
| Initiative and enterprise skills to: | promote treatments to existing and new clients. |
| Planning and organising skills to: | sequence treatments into an effective skin therapy plan. |
| Self-management skills to: | manage length of consultation recognise scope of practice issues and refer clients to colleagues or health care professional. |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=255d312b-db07-48f2-b6d6-1b0b06c42898

Assessment Requirements for SHBBSKT007 Provide laser skin treatments

# Modification History

No equivalent unit.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

safely provide laser skin treatments to at least three different clients, each with different Fitzpatrick skin types

for each of the above laser skin treatments:

adjust and modify treatment programs in response to client reaction to treatment

correctly set-up, operate and pack down equipment

provide pre- and post-treatment advice to clients

complete and store client records and workplace documentation

consult, advise and reassure clients at all stages in treatment

during the above treatments, consistently follow organisational policies and procedures, non-ionising radiation safety protection plan and relevant state or territory laws, codes and guidelines related to the safe use of laser for cosmetic treatments.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

current local, state or territory health legislation, regulation and industry standards and guidelines relevant to laser skin therapy:

non-ionising radiation protection

skin penetration

work health and safety

organisational policies and procedures related to laser skin therapy, including those for treatment of minors

organisational non-ionising radiation safety protection plan

organisational product and equipment range and manufacturer instructions and safety data sheets

practitioner’s legal and insurance liabilities and responsibilities for laser treatment:

role and importance of indemnity insurance

potential risks, liabilities and consequences of non-coverage

responsibilities of practitioner and client related to safe and responsible laser skin therapy

types of laser equipment commonly used within industry and accepted by industry standards, their recommended use and application

scope of practice for skin therapists and factors governing treatment parameters

principals of light energy and how it interacts with the skin

factors impacting client suitability for intense pulsed light and their associated risks, benefits and required action

treatment plan components

factors affecting laser treatments:

suitability for treatment

areas unsuitable for treatment

tissue responses

allergic and adverse effects

process for obtaining written permission from a medical professional to proceed with treatment where there is pigmentation or a contraindicated condition in treatment area

appearance of indications, contraindications and precautions to treatment

causes, appearance and management of complications and adverse effects

post-treatment advice and care for all treatment areas.

# Assessment Conditions

Skills must be demonstrated in a skin treatment area; this can be:

an industry workplace

a simulated industry environment set up for the purposes of assessment.

Assessment must ensure access to:

relevant documentation including:

workplace policies and procedures for laser use

non-ionising radiation safety protection plan

current safety and environmental standards, guidelines regarding laser safety

client content and consultation forms

treatment log book

post-care forms.

Assessment must ensure use of:

laser equipment which:

when energised, can emit an amount of non-ionising radiation higher than accessible limit for a Class 3B laser for the relevant period stated in, and measured in accordance with, the laser standard AS2211.1.2004 Safety of laser products

can treat Fitzpatrick skin types one to six

is registered for purpose on the Australian Register of Therapeutic Goods

complies with Safety of laser products equipment classification and requirements AS/NZS IEC 60825.1:2014

laser clinical treatment environment that includes:

as per relevant state or territory legislation either, or both, of the following:

a radiation warning sign

an illuminated light above door

non-flammable screens fitted inside windows to protect a person outside the window from non-ionising radiation levels greater than maximum permissible exposure from radiation

ventilation designed to ensure that airborne hazards are not passed downstream in air handling and exhaust system

fire extinguishing equipment

sufficient clinical lighting

eye protection equipment for practitioner and clients compliant with AS/NZS 1336:2014

disposable masks

disposable gloves

skin grid pencils

handwashing basin

cooling post-treatment products

antibacterial cleaning products

client skin wipes

real people with different skin types seeking skin treatments

activities that reflect industry practice and allow the individual to work with commercial timing and productivity to complete client treatments within designated timeframes.

Assessment must be directly observed, in person, for the total duration of each laser client consultation and patch test, by assessors who meet the assessor requirements outlined below.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors, and:

have worked for at least three years where they have applied the skills and knowledge of this unit of competency.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=255d312b-db07-48f2-b6d6-1b0b06c42898