# SIFCBGM002 Maintain property and structures

Release: 1

SIFCBGM002 Maintain property and structures

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to undertake basic maintenance of properties and structures where the specialist skills of another trade are not warranted or available. It applies to general grounds maintenance staff whose work involves working under routine supervision and in some cases, responsibility for supervision and coordination within a team may be required. All work is carried out according to work health and safety, relevant legislation and workplace policies and procedures.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Competency Field

Building and Grounds Maintenance

# Unit Sector

Cemetery and Crematoria

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for maintenance. | 1.1 Liaise with supervisor or team member to identify and confirm work requirements. 1.2 Select and use tools according to work requirements. 1.3 Select and use personal protective equipment according to work requirements. |
| 2. Perform routine maintenance to properties and structures. | 2.1 Check property for minor maintenance requirements and undertake minor repairs. 2.2 Identify damage to structures and structural finishes and repair according to supervisor instructions. |
| 3. Collect and dispose of waste or recyclable material. | 3.1 Identify and select waste collection and cleaning equipment. 3.2 Collect waste and recyclable material. 3.3 Identify hazardous waste and take corrective action. 3.4 Clean waste receptacles and surrounds. 3.5 Transport waste to disposal point. 3.6 Identify and sort recyclables. 3.7 Dispose of non-reusable waste. 3.8 Re-use recyclable materials according to workplace policies and procedures. |
| 4. Finalise maintenance duties. | 4.1 Report information about hazards, incidents or accidents. 4.2 Clean and store equipment according to manufacturer guidelines. |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

SIFBGM002A Maintain property and structures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c2c3131e-4418-4aa3-8ff1-a855c95f7fd6

Assessment Requirements for SIFCBGM002 Maintain property and structures

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to:

select, prepare, use, maintain and clean the required tools and equipment according to supervisor instructions, workplace policies and procedures, and manufacturer guidelines

maintain and repair property and structural finishes

collect and dispose of all types of waste

use safe handling techniques for tools and equipment.

Evidence of performance of maintaining property and structures on two or more occasions is required to demonstrate consistency of performance and ability to respond to different situations.

# Knowledge Evidence

Demonstrated knowledge of:

cemetery property and structures:

fences

drains

waterways

roads

car parks

vegetation

windbreaks

paths

buildings

landscape features

sheds

benches

shelters

types of structural finishes, including:

paint

stains

cladding, such as:

corrugated iron

shade cloth

plastic

cement sheeting.

different types of waste and recyclable materials and associated disposal techniques

federal, state or territory, and local government legislation and regulations that impact on maintaining property structures

tools and equipment used in maintaining property structures, including cleaning and personal protective equipment

waste and recyclable material and range of waste receptacles and disposal points

environmental impacts in relation to maintaining property structures  and minimal impact practices to reduce these, especially those that relate to resource, water and energy use

correct and environmentally sound disposal methods for all types of waste and in particular for hazardous substance, including materials and equipment containing blood and body fluid, contaminated garments and dressings, sharps, etc

workplace policies and procedures regarding maintaining property and structures.

# Assessment Conditions

Skills must be demonstrated in the workplace or in a simulated environment that is as industry realistic as possible. In a simulated environment, it is essential that assessment is conducted:

using suitable facilities, equipment and resources, including:

an environment that allows for application of minor maintenance works and identification, collection and disposal of hazardous and general waste

maintenance tools and equipment, including personal protective equipment and waste disposal points

under industry conditions where there is:

integration of tasks with possible interruptions to work typical of the job role

speed and timing requirements that reflect commercial operating conditions

interaction with supervisor and team members

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c2c3131e-4418-4aa3-8ff1-a855c95f7fd6