# SIFCBGM005 Place and finish concrete for cemetery or crematorium structures

Release: 1

SIFCBGM005 Place and finish concrete for cemetery or crematorium structures

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to place and finish concrete for cemetery or crematorium structures. It applies to cemetery and crematorium staff involved in building and grounds maintenance. It involves working under supervision with some responsibility, and performing work according to work health and safety, relevant legislation and workplace policies and procedures.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Competency Field

Building and Grounds Maintenance

# Unit Sector

Cemetery and Crematoria

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan concrete work. | 1.1 Identify and clarify work requirements. 1.2 Select and assemble tools, equipment and materials according to work requirements. 1.3 Check tools and equipment for serviceability and report faults. 1.4 Liaise with supervisor to identify and clarify actual or potential hazards and corrective actions. |
| 2. Prepare and place concrete. | 2.1 Conduct concrete tests according to manufacturer guidelines. 2.2 Transport and pour concrete on cemetery or crematoria structure. 2.3 Compact concrete according to job requirements. 2.4 Screed concrete according to specified levels and grades. 2.5 Finish concrete surface according to job specifications. 2.6 Apply curing methods according to manufacturer guidelines. |
| 3. Clean work area and equipment. | 3.1 Remove waste and debris according to workplace requirements. 3.2 Clear work site to cemetery presentation standards. 3.3 Clean, maintain and store tools and equipment according to manufacturer guidelines and workplace requirements. |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

SIFBGM005A Place and finish concrete for cemetery or crematorium structures.

# Links

Companion Volume Implementation Guide - http://www.serviceskills.com.au/resources