# Assessment Requirements for SIFEMWK019 Design a mortuary

Release: 1

Assessment Requirements for SIFEMWK019 Design a mortuary

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to:

source and analyse relevant information required to design a specific mortuary, including information for developing environmentally effective solutions

prepare and present a mortuary design in an accessible format according to organisational requirements

negotiate solutions to address inconsistencies between design brief and organisational and legislative requirements.

Evidence of performance preparing one or more design briefs for a mortuary is required to demonstrate consistency of performance and ability to respond to different situations.

# Knowledge Evidence

Demonstrated knowledge of:

federal, state or territory, and local government legislation and regulations relating to mortuary operations, work health and safety/occupational health and safety, infection control and handling human remains

design elements and principles for space use

building control legislation, codes and relevant Australian standards, and local planning requirements

building construction practices

constraints that may impact on a design, including:

local, state or federal legislative requirements

building codes

space restrictions

cash flow restrictions

overall cost ceiling

time constraints

identification of formal and informal barriers

range of specialists and technical experts to advise on building design

environmental impact of a building over its life cycle, from construction to demolition:

efficient use of energy

efficient use of resources required for construction and maintenance

elimination or minimisation of hazardous and toxic materials

minimisation of water use

reduced use of non-renewable resources

re-use and recycling of materials

use of solar or other alternative forms of energy

waste reduction

products and services that support improved sustainability

components of design specifications and brief including floor plan, anticipated cost, timelines, resources and contingency plans.

# Assessment Conditions

Skills must be demonstrated in the workplace or in a simulated environment that is as industry realistic as possible. In a simulated environment, it is essential that assessment is conducted:

using suitable facilities, equipment and resources, including:

comprehensive and sufficient information about a new or existing mortuary facility and its operational and work requirements to allow the individual to design a mortuary

computer and software

organisational budget

under industry operating conditions where there is:

integration of tasks with possible interruptions to work typical of the job role

interaction with specialist personnel as required

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c2c3131e-4418-4aa3-8ff1-a855c95f7fd6