# SISCAQU001 Test pool water quality

Release: 1

SISCAQU001 Test pool water quality

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to conduct pool water tests, record test results and make visual ongoing checks.

This unit applies to those working as pool attendants or aquatic operators in aquatic environments, such as council or commercially operated aquatic and leisure centres. Work is performed according to public health regulatory requirements, organisational policies and procedures, and relevant legislation.

Work may be carried out under supervision or with some autonomy, depending on the individual situation and job role.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Aquatics

# Unit Sector

Community Recreation

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Conduct pool water tests. | 1.1 Complete routine pool water tests according to public health regulatory requirements. 1.2 Interpret test results and compare with public health regulatory requirements. 1.3 Identify and report pool water test irregularities to appropriate personnel for corrective action. 1.4 Respond to contamination incidents within scope of own role. 1.5 Conduct regular sample collection and initiate corrective actions as required. 1.6 Perform regular visual checks of pool water quality, identify issues and initiate corrective actions when required. |
| 2. Record test results. | 2.1 Record pool water test results accurately. 2.2 Update swimming pool log according to aquatic facility specifications. |

# Foundation Skills

Foundation skills essential to performance in this unit are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

SISCAQU201A Monitor pool water quality

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b