# Assessment Requirements for SISCAQU005 Develop and implement aquatic facility maintenance procedures

Release: 1

Assessment Requirements for SISCAQU005 Develop and implement aquatic facility maintenance procedures

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

develop and document maintenance procedures for at least one aquatic facility, incorporating consideration of:

circulation plant

heating systems

lighting or ventilation systems

disinfection systems

required supplies

servicing and repair

equipment replacement/redundancy

implement and evaluate maintenance procedures for at least one aquatic facility.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

legislation and industry standards relevant to aquatic facility maintenance:

work health and safety/occupational health and safety

dangerous goods act and regulations

local government regulations

building codes and regulations

organisational policies and procedures:

standard operating conditions and levels

work health and safety/occupational health and safety

risk assessment and control

handling of hazardous chemicals

emergency evacuation

factors affecting the operating cost of an aquatic facility:

faulty operation

cleaning requirements

consumables

replacements (whole or part)

servicing and repair

utility costs

staff costs

contractor costs

plant and equipment manufacturer specifications in relation to operation, servicing and repair of:

circulation plant

heating systems

lighting and ventilation systems

disinfection systems

supplies

emergency situations that can occur with plant and equipment, and how to respond

project management techniques:

planning and scheduling

consultation and communication

evaluation.

# Assessment Conditions

Skills must be demonstrated in:

a workplace or simulated aquatic facility or environment.

Assessment must ensure use of:

equipment and plant for which the candidate plans maintenance procedures

organisational policies, procedures and budget

equipment operating and maintenance instructions

resources to maintain facility and equipment.

Assessment activities that allow the individual to:

implement and monitor maintenance activity over time.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b