# SISCAQU005 Develop and implement aquatic facility maintenance procedures

Release: 1

SISCAQU005 Develop and implement aquatic facility maintenance procedures

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to develop, implement and evaluate maintenance schedules for an aquatic recreation facility.

This unit applies to those working autonomously at aquatic leisure centres or community pools in roles such as program coordinators, swim school coordinators, recreation coordinators or duty managers. Work is performed according to relevant legislation, organisational policies and procedures.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Aquatics

# Unit Sector

Community Recreation

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan maintenance procedures. | 1.1 Evaluate operational maintenance needs according to regulatory and business requirements. 1.2 Document uses and condition of the aquatic facility plant and equipment and identify priorities for action. 1.3 Identify potential sources of increased efficiency of the aquatic facility plant and equipment. 1.4 Identify human, physical and financial resources associated with needed maintenance of aquatic facility. 1.5 Integrate maintenance program with asset acquisition and disposal plans. 1.6 Schedule maintenance activities to minimise disruption to facility users and ensure that supplies are available. 1.7 Confirm, document and communicate maintenance procedures and costs according to organisational approval protocols. |
| 2. Implement maintenance procedures. | 2.1 Monitor completion of inspection and maintenance schedules. 2.2 Identify and assess failed or unsafe aquatic facility plant and equipment and determine underlying cause within scope of own role. 2.3 Identify and evaluate emergency situations and respond according to local regulatory and organisational procedures. 2.4 Remove defective equipment and/or facilities from operation and complete repairs within designated responsibility. 2.5 Arrange for required repairs to be carried out by qualified and/or licensed contractors and record actions taken. 2.6 Monitor maintenance records and take corrective action as required. 2.7 Communicate maintenance actions to appropriate staff or personnel. |
| 3. Evaluate maintenance procedures. | 3.1 Assess the effectiveness of maintenance systems against short and long-term maintenance requirements. 3.2 Identify and use alternative maintenance methods to maintain cost effectiveness. 3.3 Document and communicate improvements and changes to maintenance systems. |

# Foundation Skills

| Foundation skills essential to performance in this unit, but not explicit in the performance criteria are listed here, along with a brief context statement. |  |
| --- | --- |
| SKILLS | DESCRIPTION |
| Reading skills to: | interpret technical content of regulatory requirements. |

# Unit Mapping Information

SISCAQU415A Develop aquatic facility maintenance procedures

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b

Assessment Requirements for SISCAQU005 Develop and implement aquatic facility maintenance procedures

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

develop and document maintenance procedures for at least one aquatic facility, incorporating consideration of:

circulation plant

heating systems

lighting or ventilation systems

disinfection systems

required supplies

servicing and repair

equipment replacement/redundancy

implement and evaluate maintenance procedures for at least one aquatic facility.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

legislation and industry standards relevant to aquatic facility maintenance:

work health and safety/occupational health and safety

dangerous goods act and regulations

local government regulations

building codes and regulations

organisational policies and procedures:

standard operating conditions and levels

work health and safety/occupational health and safety

risk assessment and control

handling of hazardous chemicals

emergency evacuation

factors affecting the operating cost of an aquatic facility:

faulty operation

cleaning requirements

consumables

replacements (whole or part)

servicing and repair

utility costs

staff costs

contractor costs

plant and equipment manufacturer specifications in relation to operation, servicing and repair of:

circulation plant

heating systems

lighting and ventilation systems

disinfection systems

supplies

emergency situations that can occur with plant and equipment, and how to respond

project management techniques:

planning and scheduling

consultation and communication

evaluation.

# Assessment Conditions

Skills must be demonstrated in:

a workplace or simulated aquatic facility or environment.

Assessment must ensure use of:

equipment and plant for which the candidate plans maintenance procedures

organisational policies, procedures and budget

equipment operating and maintenance instructions

resources to maintain facility and equipment.

Assessment activities that allow the individual to:

implement and monitor maintenance activity over time.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b