# Assessment Requirements for SISCAQU015 Test pool water quality

Release: 1

Assessment Requirements for SISCAQU015 Test pool water quality

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

correctly interpret pool water monitoring schedules and follow manufacturer instructions to complete the following:

three pool water tests, at different times, for one of the following types of disinfectant:

free chlorine, combined chlorine and total chlorine (where chlorine is used at the facility), or

free chlorine, combined chlorine and total chlorine plus cyanuric acid tests (where cyanuric acid is used with chlorine as a stabiliser at the facility), or

free bromine and total bromine (where bromine is used at the facility)

three pool water tests, at different times, for each of the following:

pH

total alkalinity

calcium hardness

total dissolved solids

temperature

for each pool water test above, complete accurate records

visually inspect pool water on two occasions and according to actual incidents or simulations:

identify two different types of water contamination

respond by manually clearing the contamination, and report the incident for further corrective action.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

organisational procedures for:

testing and recording pool water data

reporting and responding to water quality irregularities and contamination incidents

organisational:

role responsibilities, boundaries and reporting lines for pool water monitoring and corrective action

work health and safety (WHS) practices for testing pool water quality

an overview of the relevant state, territory or local government public health regulations for maintaining pool water quality:

the overarching health-related purpose of pool water testing for public aquatic facilities

types of tests that must be completed by the pool operator, and record keeping requirements

water quality guideline and advisory documents that are available and how these are used by aquatic operators

different types of pools, water types and locations, and relevant types of chemical pool water tests:

free chlorine, combined chlorine and total chlorine

cyanuric acid

free bromine and total bromine

pH

total alkalinity

calcium hardness

total dissolved solids

for each of the above listed chemical pool water tests:

their purpose

typical periodic schedules

equipment, resources and techniques used to collect samples

microbiological tests completed on pool water:

common types of microbiological tests completed:

heterotrophic colony count (HCC)

Escherichia coli (E. coli)

Pseudomonas aeruginosa

typical periodic schedules

equipment, resources and techniques used to collect microbiological samples

relevant state, territory or local government jurisdictional requirements for microbiological samples to be collected only by a designated authority

temperature of pool water:

maximum temperature allowed by regulations

equipment and techniques used to test pool water temperature

relationship with other pool water parameters

the meaning of operational monitoring of pool water quality and the differences between automated and manual monitoring

the meaning of verification monitoring, how this particularly applies to microbiological testing, and the role of external laboratories

visual inspections completed on pools and water:

typical periodic schedules

parts of the pool typically inspected

types of water quality irregularities that can be visually observed including turbidity, and how turbidity meters are used

common types of pool water contamination incidents, risks to health, and typical immediate responses that are required to manually clear the contamination:

faecal incident soft stool (diarrhoea)

faecal incident formed stool

vomit

environmental incidents involving animal droppings, sand, soil, leaves and grass

formats and inclusions of:

organisational pool water monitoring schedules

manufacturer instructions for pool water testing equipment and resources

pool water test and visual inspection records, incident reports and how to complete these.

# Assessment Conditions

Skills must be demonstrated in an aquatic facility with an operating indoor or outdoor pool used by members of the public. Facilities can include those operated by commercial, not-for-profit, community and government organisations.

Assessment must ensure use of:

pool water testing equipment and resources, and manufacturer instructions

pool water monitoring schedules

template pool water test and visual inspection records, and incident reports

organisational procedures for:

testing and recording pool water data

reporting and responding to water quality irregularities and contamination incidents.

Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b