# Assessment Requirements for SISCAQU016 Manage pool water quality

Release: 1

Assessment Requirements for SISCAQU016 Manage pool water quality

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

prepare a documented schedule covering one monthly period for chemical and microbiological monitoring, ensuring the schedule complies with operational and regulatory specifications

evaluate data from three pool water samples, collected at different times, for one of the following types of disinfectant:

free chlorine, combined chlorine and total chlorine (where chlorine is used at the facility), or

free chlorine, combined chlorine and total chlorine plus cyanuric acid data (where cyanuric acid is used with chlorine as a stabiliser at the facility), or

free bromine and total bromine (where bromine is used at the facility)

evaluate data from three pool water samples, collected at different times, for each of the following:

pH

total alkalinity

calcium hardness

total dissolved solids

temperature

use safe work practices and manufacturer instructions to handle chemicals and treat pool water on two occasions

from evaluation activities personally completed, or from case study documentation:

determine the required chemical treatment response for two different types of water imbalance issues

determine the required chemical treatment response for two different types of water contamination

for each treatment response, complete accurate records of the evaluation and corrective action, and update chemical register records.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

an overview of the provisions of the local state or territory government public health legislation that relates to pool water quality for public pools:

purpose in managing risks to public health

overarching compliance and risk management requirements and consequences of non-compliance

regulatory and advisory functions of local government that relate to pool water quality

how to access regulatory documents and select information relevant to the pool facility:

prescribed and recommended:

chemical parameters of pool water

types of pool water tests and testing schedules

record keeping requirements

codes of practice

water quality guideline and advisory documents

microbiological hazards associated with pool water:

micro-organisms in pool water and typical sources, both bathers and the environment

common related illnesses

effects of chemicals on bathers, both discomfort and more serious effects

reasons to maintain clarity of pool water:

safety reasons

aesthetic reasons

reasons relating to effectiveness of disinfection

reasons to maintain optimum chemical balance of pool water:

avoiding degradation of pool surfaces, metal fixtures and water treatment plant

bather comfort

clarity of water

reasons relating to effectiveness of disinfection

key operational features of pool water treatment system components, and their role in maintaining pool water quality:

water circulation and distribution system

filtration system, including backwash processes and indicators for remedial backwash

disinfection system:

automated dosing system

continuous metered dosing system

pH control system

methods used to monitor pool water quality and to record and evaluate data:

manual sampling and by automated probes

manual reports using spreadsheets

data logging technology where automated in-line tests are recorded electronically

chemical parameters measured to control water balance, typical periodic schedules, and the role of the Langelier Saturation Index (LSI):

pH

total alkalinity

calcium hardness

total dissolved solids

temperature

common microbiological parameters measured, typical periodic schedules, and how to locate and use specifications for normal counts, and elevated counts that trigger mandatory reports to the local regulatory authority:

heterotrophic colony count (HCC)

Escherichia coli (E. coli)

Pseudomonas aeruginosa

treatments required to maintain optimum pool water quality, and how to locate and use specifications for calculating the chemical dose specific to the pool facility:

disinfection

pH adjustments

de-chlorination

ozonisation or use of sanitiser

turbidity

types of disinfectant agents and systems used in pools:

chlorine-based chemicals in different forms

chlorine stabilised with cyanuric acid

bromine-based chemicals in different forms

ultraviolet light plus hydrogen peroxide

for each of the above listed disinfectant types:

applicability to different types of pools and source water

chemical abbreviations

an overview of how they work

relationship to pH, total alkalinity, total hardness and total dissolved solids

types of remedial and emergency dosing methods, circumstances requiring their use, and how to locate and use specifications for calculating the chemical dose specific to the pool facility and problem:

superchlorination

shock dosing

pH agents for raising and lowering pH:

common chemicals used and abbreviations

an overview of how these work

how these interact with disinfectant agents

types of coagulants and flocculants and what these are used for

formats and inclusions of:

organisational pool water monitoring and treatment schedules

pool water evaluation reports

facility incident reports, mandatory reports to regulatory authorities, and how to complete these

for the handling and storage of pool water chemicals:

work health and safety (WHS) practices including types of personal protective equipment used

manufacturer instructions and local state or territory regulatory specifications for correct environmental storage, and security of storage

importance of maintaining correct labelling of chemical containers

safe environmental disposal methods

format and inclusions of a chemical register, and how to complete.

# Assessment Conditions

Skills must be demonstrated in an aquatic facility with an operating indoor or outdoor pool used by members of the public. Facilities can include those operated by commercial, not-for-profit, community and government organisations.

Assessment must ensure use of:

pool water monitoring and treatment equipment

personal protective equipment for chemical handling

commercial pool water treatment chemicals and measuring equipment

operational specifications for pool and water treatment plant

public health regulatory documentation and specifications

pool water test data and visual inspection reports

template:

pool water monitoring and treatment schedules

chemical register

pool water evaluation reports

facility incident reports

mandatory regulatory reports

manufacturer instructions and regulatory specifications for chemical handling and storage.

Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b