# Assessment Requirements for SISCAQU017 Monitor and maintain aquatic facility plant and equipment

Release: 1

Assessment Requirements for SISCAQU017 Monitor and maintain aquatic facility plant and equipment

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

correctly interpret plant inspection schedules, and follow manufacturer instructions to complete the following:

two periodic routine inspections of each of the following types of pool plant:

water circulation system

filtration system

disinfection dosing system

pH control system

one periodic routine inspection of another type of aquatic facility plant

correctly interpret maintenance schedules, and follow manufacturer instructions to complete the following activities:

two routine maintenance tasks for aquatic facility equipment

two minor non-specialist repairs on aquatic facility equipment

for each above inspection, maintenance and repair task, complete accurate records.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting

organisational:

role responsibilities, boundaries and reporting lines for inspection, repair and maintenance activities

work health and safety (WHS) practices for inspecting and maintaining plant and equipment

public health and safety implications of inadequately maintained equipment in aquatic facilities

key functions and operational features of pool plant, and typical periodic inspection schedules:

water circulation and distribution system

filtration system, including backwash processes and indicators for remedial backwash

disinfection system:

automated dosing system

continuous metered dosing system

pH control system

heating system

key functions and operational features of other aquatic facility plant, and typical periodic inspection schedules:

lighting system

ventilation system

inspection, cleaning and maintenance requirements for pool concourse and other wet floor areas:

common surface types

slip coefficients that must be maintained

types of slip tests, who completes these tests and any periodic testing requirements

types of inspections, maintenance and repairs referred to specialist technicians, for both pool plant and other aquatic facility plant

for aquatic facility equipment:

tools, consumables and methods used to clean and maintain equipment in safe and optimum condition

common types of consumables, and methods used to replace these

common types of minor, non-specialist repairs

tools and methods used to complete common repairs

types of repairs referred to specialist technicians

formats and inclusions of:

organisational inspection and maintenance schedules for plant and equipment

manufacturer instructions for inspection, repair and maintenance of plant and equipment

records and reports for inspection, condition, repair, and maintenance, and how to complete these.

# Assessment Conditions

Skills must be demonstrated in an aquatic facility with an operating indoor or outdoor pool used by members of the public. Facilities can include those operated by commercial, not-for-profit, community and government organisations.

Assessment must ensure use of:

pool plant and other aquatic facility plant

aquatic facility equipment

repair and maintenance tools, equipment and consumable resources

organisational inspection and maintenance schedules for plant and equipment

manufacturer instructions for inspection, repair and maintenance of plant and equipment

template records and reports for inspection, repair and maintenance

organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting.

Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b