# Assessment Requirements for SISCAQU018 Operate self-contained breathing apparatus in aquatic facility emergencies

Release: 1

Assessment Requirements for SISCAQU018 Operate self-contained breathing apparatus in aquatic facility emergencies

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

follow manufacturer instructions to complete:

one periodic safety and serviceability check on self-contained breathing apparatus

one minor non-specialist repair on self-contained breathing apparatus

for each check and repair task above, complete accurate records

participate in two simulated emergency incidents involving the release of chlorine gas, following safety and emergency response procedures

for each incident above:

identify, assess and respond to the gas release circumstance

utilise a self-contained breathing apparatus

dismantle and clean apparatus

participate in a debrief and complete an incident report.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

organisational work health and safety (WHS) and emergency response procedures for chlorine gas release

for chlorine gas:

atmospheric conditions and how they can affect chlorine gas cylinders

causes of chlorine gas emergencies in aquatic facilities

properties of gas release, including visual appearance and odour

dangers to health, and symptoms of exposure to chlorine gas

emergency response actions, and communication protocols when gas is released

how to isolate chlorine gas equipment

for self-contained breathing apparatus:

the main components:

backpack and harness

air cylinder

regulator

face piece

operational features and functions of each component, and how to assemble, use and disassemble the apparatus

safety and serviceability checks completed on each component

schedules for periodic inspection and maintenance

common types of minor, non-specialist repairs, and tools and methods used to complete these

methods used to clean apparatus and types of cleaning agents used

formats and inclusions of:

manufacturer instructions for repair and maintenance of self-contained breathing apparatus

repair and maintenance records and fault tags

incident reports.

# Assessment Conditions

Skills must be demonstrated in a public aquatic facility with an operating pool and chlorine gas system. Facilities can include those operated by commercial, not-for-profit, community and government organisations.

The following resources must be available to replicate industry conditions of operation:

first aid equipment

communication equipment for emergency response.

Assessment of participation in emergency incidents can only be completed through simulated activities. Simulations must incorporate time critical requirements.

Assessment must ensure use of:

chlorine gas system equipment

self-contained breathing apparatus, inclusive of air cylinder and regulator

manufacturer instructions for repair and maintenance of self-contained breathing apparatus

template:

repair and maintenance records and fault tags

incident reports

organisational work health and safety and emergency response procedures for chlorine gas release.

Assessors must:

satisfy the Standards for Registered Training Organisations requirements for assessors, and

have workplace experience where they have applied the skills and knowledge covered in this unit of competency over a period of two years in industry.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b