# Assessment Requirements for SISXFAC008 Monitor and maintain facility plant and equipment

Release: 1

Assessment Requirements for SISXFAC008 Monitor and maintain facility plant and equipment

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

correctly interpret plant inspection schedules, and follow manufacturer instructions to complete two periodic routine inspections of sport, fitness or recreation facility plant

correctly interpret maintenance schedules, and follow manufacturer instructions to complete the following activities:

two routine maintenance tasks for facility equipment

two minor non-specialist repairs on facility equipment

for each above inspection, repair and maintenance activity, complete accurate records.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting

organisational:

role responsibilities, boundaries and reporting lines for inspection, repair and maintenance activities

work health and safety practices for inspecting and maintaining plant and equipment

specific to the sport, fitness or recreation environment, plant and equipment:

public health and safety implications of inadequately maintained equipment in facilities

key functions and operational features of plant, and typical periodic inspection schedules

types of plant inspections, maintenance and repairs referred to specialist technicians

for facility equipment:

tools, consumables and methods used to clean and maintain equipment in safe and optimum condition

common types of consumables, and methods used to replace these

tools and methods used to complete common types of minor, non-specialist repairs

types of repairs referred to specialist technicians

formats and inclusions of:

organisational inspection and maintenance schedules for plant and equipment

manufacturer instructions for inspection, repair and maintenance of plant and equipment

records and reports for inspection, condition, repair, and maintenance, and how to complete these.

# Assessment Conditions

Skills must be demonstrated in a sport, fitness or recreation facility.

Assessment must ensure use of:

facility plant

facility equipment

repair and maintenance tools, equipment and consumable resources

organisational inspection and maintenance schedules for plant and equipment

manufacturer instructions for inspection, repair and maintenance of plant and equipment

template records and reports for inspection, repair, and maintenance

organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting.

Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b