# Assessment Requirements for SISXFAC009 Coordinate facility maintenance

Release: 1

Assessment Requirements for SISXFAC009 Coordinate facility maintenance

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

develop and document two different maintenance schedules covering two different monthly periods for a sport, fitness, aquatic or recreation facility

in each monthly schedule above, integrate:

periodic inspection schedules for plant systems

periodic inspection and maintenance schedules for facility equipment

general maintenance of the facility and equipment

develop and document one weekly schedule for the repair of faulty equipment identified in fault reports

according to actual incidents or case studies:

respond to two reports of unsafe or failed equipment, and determine repair needs

respond to one request for plant isolation and advise on the procedures according to operational and safety specifications

evaluate details of maintenance activities completed against a schedule, and determine how scheduling and activities could be improved.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

organisational procedures for distributing maintenance schedules, and recording completed maintenance

specific to the sport, fitness, aquatic or recreation environment, plant and equipment:

how maintenance activities can impact on service operations, and how maintenance and program teams can minimise disruption

key contents of facility maintenance plans and how these are used to identify and determine scheduling requirements for maintenance of plant and equipment

types of fault and condition reports completed by facility staff, and how repair and maintenance requirements are scheduled

types of plant systems, and:

how to access operational specifications, and select information about periodic inspection and testing requirements

types of inspections, maintenance and repairs completed in-house and types referred to specialist technicians

situations requiring isolation of plant

isolation and safety procedures and importance of following these

types of large and small equipment, and:

how to access operational specifications, and select information on periodic maintenance requirements and guidelines

types of inspections, maintenance and repairs completed in-house and types referred to specialist technicians

how to effectively isolate equipment and facility areas to maintain the safety of staff and patrons

typical formats and inclusions of:

periodic inspection schedules

repair and maintenance schedules

internal workplans for repair and maintenance tasks

work orders to external contractors and importance of accuracy

maintenance logs

types of technology used to manage, schedule and keep records of maintenance.

# Assessment Conditions

Skills must be demonstrated in a sport, fitness, aquatic or recreation facility.

Assessment must ensure use of:

overarching facility maintenance plan

fault and condition reports for facility plant and equipment

operational specifications for facility plant and equipment

template:

maintenance schedules and workplans

logs used to record completed maintenance activities

organisational procedures for distributing maintenance schedules, and recording completed maintenance.

Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b