# SISCAQU305A Implement aquatic facility plant and equipment maintenance program

Release: 2

SISCAQU305A Implement aquatic facility plant and equipment maintenance program

# Modification History

Not Applicable

# Unit Descriptor

This unit describes the performance outcomes, skills and knowledge required to safely implement an aquatic facility plant and equipment maintenance program. This involves maintaining plant and equipment, diagnosing faults, responding to unsafe or failed plant and equipment and reviewing the effectiveness of the maintenance program.

# Application of the Unit

This unit applies to those working independently as aquatic operators or managers in various aquatic environments, such as council or commercially operated aquatic and leisure centres. This may also include those coordinating and supervising others in the aquatic environment.

# Licensing/Regulatory Information

No licensing, legislative, regulatory or certification requirements apply to this unit at the time of endorsement.

# Pre-Requisites

Nil

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the Evidence Guide. |
| 1. Maintain aquatic facility plant and equipment. | 1.1. Carry out regular monitoring of aquatic facility plant and equipment condition. 1.2. Identify potential problems with plant and equipment and record details according to organisational policies and procedures. 1.3. Implement preventative maintenance systems for aquatic facility plant and equipment for the long-term protection of assets according to relevant legislation, organisational policies and procedures and manufacturer's specifications. |
| 2. Diagnose faults. | 2.1. Erect clear and noticeable warning signs around aquatic facility plant and equipment that is being repaired. 2.2. Assess failed or unsafe aquatic facility plant and equipment according to organisational policies and procedures. 2.3. Identify faults and, where possible, determine the underlying cause. |
| 3. Respond to failed or unsafe aquatic facility plant and equipment. | 3.1. Erect clear and noticeable warning signs around aquatic facility plant and equipment that is being repaired. 3.2. Carry out repairs within designated responsibility according to manufacturer's recommendations and standards, public health regulatory requirements and organisational policies and procedures. 3.3. Take defective equipment and or facilities out of operation according to organisational policies and procedures. 3.4. Make arrangements for required repairs to be carried out by qualified and or licensed contractors according to relevant legislation. 3.5. Record actions taken according to organisational policies and procedures and relevant legislation. |
| 4. Review maintenance program. | 4.1. Evaluate maintenance program to ensure short- and long-term maintenance requirements of the facility are met. 4.2. Schedule maintenance activities to minimise disruption to facility users and ensure that supplies are available. 4.3. Integrate maintenance program with asset acquisition and disposal plans. 4.4. Identify and use acceptable alternative maintenance methods to maintain cost-effective program as required. |

# Required Skills and Knowledge

is section describes the skills and knowledge required for this unit.

Required skills

communication skills to: make suitable arrangements with qualified contractors to repair failed or unsafe aquatic plant and equipment consult with others when reviewing the maintenance program problem-solving skills to: review maintenance programs monitor and respond to failed or unsafe facility plant and equipment planning and organisational skills to: carry out maintenance that minimises disruption to the facility users ensure all required supplies are available literacy skills to: record details of failed or unsafe plant or equipment and corrective actions taken ensure clarity of warning signs for public safety during repair processes numeracy skills to maintain cost-effective maintenance plans first aid skills and treatment procedures related to plant and equipment accidents.

Required knowledge

legislation and organisational policies and procedures that enable: implementation of effective preventative maintenance systems assessment of failed or unsafe aquatic plant and equipment public health regulatory requirements to carry out repairs within designated responsibility maintenance planning procedures and qualified and or licensed contractors to repair plant and equipment when required resources and supplies required to maintain and manage aquatic facility plant and equipment.

# Evidence Guide

| The Evidence Guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, Range Statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Overview of assessment |  |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Evidence of the following is essential: conducts regular monitoring of use and condition of aquatic facility plant and equipment and identifies potential problems and faults responds to plant and equipment failures and faults and repairs within designated responsibility or makes arrangements for qualified contractors to carry out repairs as required records details of failed or unsafe plant or equipment and corrective actions taken. |
| Context of and specific resources for assessment | Assessment must ensure: implementation and review of aquatic facility and equipment maintenance program on multiple occasions to demonstrate competency and consistency of performance access to an aquatic facility plant and equipment access to resources to maintain facility and equipment and to keep records access to qualified contractors access to public health regulatory requirements, relevant legislation, and organisational policies and procedures. |
| Method of assessment | A range of assessment methods should be used to assess practical skills and knowledge. The following examples are appropriate for this unit: observation of the candidate assessing failed or unsafe facility plant and equipment oral or written questioning to assess candidate's knowledge of procedures and processes for plant and equipment operation and maintenance portfolio of written records detailing unsafe or failed plant and equipment and corrective action taken third-party reports from a supervisor detailing candidate's performance on the job. Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended, for example: SISCAQU303A Operate aquatic facility plant and equipment |

# Range Statement

| The Range Statement relates to the Unit of Competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| --- | --- |
| Aquatic facility plant and equipment may include: | circulation plant heating systems lighting and ventilation systems electrical control units electrical appliances self-contained breathing apparatus. |
| Organisational policies and procedures may include: | occupational health and safety communication protocols use and maintenance of resources emergency and risk management procedures chemical handling procedures backwash procedures filtration processes isolation procedures procedures for disposal of dangerous materials reporting and record keeping. |
| Relevant legislation may include: | occupational health and safety public health regulations infectious diseases regulations relevant dangerous goods act and regulations metropolitan water supply, sewerage and drainage by-laws relevant environment legislation local government regulations. maintenance of records and reports. |
| Public health regulatory requirements may include: | health and poisons act infectious diseases regulations dangerous goods act and regulations metropolitan water supply, sewerage and drainage by-laws environment legislation local government regulations building codes and regulations fire regulations. |
| Supplies may include: | first aid consumables pool water chemicals cleaning supplies maintenance consumables fuel oil parts paint tools. |

# Unit Sector(s)

Community Recreation

# Competency Field

Aquatics