# SITHFAB028 Operate and monitor cellar systems

Release: 1

SITHFAB028 Operate and monitor cellar systems

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to work safely in a cellar. It requires the ability to operate and maintain beverage dispensing systems; and monitor refrigeration systems, the overall safety of cellar operations and the quality of beverage products.

Cellar covers any area used as the storage location for bulk beverages and the equipment that supports its service. This unit applies to hotels, clubs, casinos and sporting venues, but is also relevant to restaurants, or any other permanent or temporary catering venue where a cellar is maintained.

This unit applies to any person who has responsibility for the operation and monitoring of a cellar. They may be a dedicated cellar person, a senior bar attendant, a manager or a business owner and they sometimes have stock control responsibilities.

Safety issues and compliance requirements are a key focus of the unit. These reflect compliance requirements under work health and safety (WHS) legislation and obligations under AS 5034 Installation and use of inert gases for beverage dispensing.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Food and Beverage

# Unit Sector

Hospitality

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Operate and maintain beverage dispensing systems. | 1.1. Operate beverage systems according to manufacturer instructions and relevant safety requirements. 1.2. Tap kegs according to safety requirements and manufacturer instructions. 1.3. Handle, connect and store beverage gas according to relevant safety standards. 1.4. Check post-mix systems for effective operation and change syrup boxes as required. 1.5. Clean beverage system parts according to manufacturer instructions and safety requirements. 1.6. Use chemicals safely according to product instructions. 1.7. Correct or report dispensing system faults to appropriate person according to scope of individual responsibility. |
| 2.1. Use and monitor refrigeration systems. | 2.1. Monitor and accurately measure refrigeration system and adjust to comply with product requirements. 2.2. Perform routine checking of glycol levels and cleaning of vents, ensuring safe use of chemicals at all times. 2.3. Promptly identify refrigeration faults and report to qualified refrigeration mechanic according to organisational procedures. |
| 3. Monitor overall cellar safety. | 3.1. Make regular routine checks of gas systems according to relevant safety standards. 3.2. Systematically monitor use and storage of chemicals and ensure safety requirements are met. 3.3. Monitor cellar area for safety signage and take action to rectify deficiencies. 3.4. Proactively provide relevant information about safety issues to other workers. |
| 4. Monitor quality of beverage products. | 4.1. Monitor cellar temperature to ensure optimum storage conditions for different beverage products. 4.2. Systematically check cellar conditions to ensure the requirements of the Australia New Zealand Food Standards (ANZFS) Code are met. 4.3. Use systematic product rotation to maintain quality. 4.4. Use manual or electronic stock control systems to monitor quality of products and control stock during receiving, storage and issuing. 4.5. Test quality of beverage products regularly and identify faults. 4.6. Take appropriate action to rectify faults within scope of own responsibility, or report to appropriate person. |

# Foundation Skills

| Foundation skills essential to performance in this unit, but not explicit in the performance criteria are listed here, along with a brief context statement. |  |
| --- | --- |
| SKILLS | DESCRIPTION |
| Reading skills to: | read and interpret: ANZFS Code manufacturer instructions for operating cellar equipment logbook entries Safety Data Sheets (SDS) safety procedures and signs stock control system records. |
| Writing skills to: | report faulty equipment complete logbook entries for testing and checking activities. |
| Oral communication skills to: | make accurate verbal reports on dispensing system faults. |
| Numeracy skills to: | calculate and document complex calibrations of cellar equipment calculate dilution requirements for chemicals and cleaning products measure temperatures for the storage of cellar stock items. |
| Problem-solving skills to: | monitor cellar conditions and the operational efficiency and safety of cellar equipment to identify and rectify faults in operational cellar systems within scope of own role. |
| Teamwork skills to: | provide practical information about cellar issues to colleagues. |
| Technology skills to: | work with equipment at an operational and basic maintenance level. |

# Unit Mapping Information

Supersedes and is equivalent to SITHFAB008 Operate and monitor cellar systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=68c40a93-e51d-4e0f-bc06-899dff092694

Assessment Requirements for SITHFAB028 Operate and monitor cellar systems

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

operate and maintain beverage dispensing system components listed in the knowledge evidence during at least three service periods

safely use and monitor the safety of relevant refrigeration systems used in organisation cellar operations as listed in the knowledge evidence over the above service periods

systematically check cellar conditions and quality of at least four of the following types of cellared beverages over a stock delivery cycle:

aerated and mineral waters

bulk and packaged beers

juices and syrups

liqueurs

post-mix

spirits

wine

systematically monitor all cellar operations over one stock delivery cycle.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

key requirements of cellar compliance laws:

Health Act

work health and safety (WHS) legislation

Food Standards Australia New Zealand Act 1991

essential elements of the Australia New Zealand Food Standards Code that directly impact on cellar operations

full requirements of Australian standards that directly impact on cellar operations:

AS 5034 Installation and use of inert gases for beverage dispensing

AS 3780 The storage and handling of corrosive substances

operational features of beverage gas systems:

beverage system parts:

beer lines

beer pumps

beer taps

connectors

couplers

foam on beer (FOB) detectors

manifolds

transfer leads

isolating gas board

monitoring alarms

monitoring gas regulator pressures

types of beverage gases

how to handle, store, connect and disconnect beverage gas cylinders and different types of cylinder systems and gas

inert gas in confined spaces and the potential dangers

particular dangers of carbon dioxide and nitrogen

required fire protection equipment and other emergency and alarm procedures

methods and techniques for undertaking routine checks for gas leaks:

disconnecting and re-connecting leads

drop tests

monitoring regulators

spray tests

typical roles and responsibilities of those within the hospitality establishment and external contractors in operating and maintaining the system

operational features of the following refrigeration systems:

cabinets

chilled beer fonts

chiller plates

compressors

cool room

glycol system or refrigerated beer line system

glycol tanks and pumps

ice bank or water chilled system

instantaneous cooler system

portable system

safe manual handling techniques for lifting and shifting heavy items

procedures and safety requirements for using and storing hazardous substances:

chemicals

other cleaning agents

content of labelling and safety data sheets (SDS) for hazardous substances

correct and environmentally sound disposal methods for hazardous substances

overview information on the way that beer is brewed and what this means for cellar operations

cellar products, including beer, and their characteristics:

correct handling and storage

shelf life

potential faults

organisational procedures for operation of cellar systems:

cleaning and maintaining equipment

cleaning lines and equipment

controlling and rotating stock

conducting risk assessments

correctly servicing and maintaining equipment, connectors and couplers that operate under pressure

dealing with pressure factors

using electrical equipment safely.

# Assessment Conditions

Skills must be demonstrated in an operational commercial cellar. This can be:

an industry workplace; or

a simulated industry environment set up for the purposes of assessment.

Assessment must ensure access to:

fixtures and large equipment:

beverage system parts:

beer lines

beer pumps

beer taps

connectors

couplers

FOB detectors

transfer leads

manifolds

cool room

gas systems:

alarms

beverage gases

gas cylinders

gas regulators

isolating gas board

keg area

liquor storage area

post-mix dispensing system

refrigeration system

reticulated beer dispensing system:

two complete beer lines, from keg to beer tap

approved cleaning keg or dosing unit

small equipment:

safety goggles and gloves

cleaning agents and chemicals:

‘Corrosive 8’ detergents

general cleaning agents

low pH detergents

one-part detergent solutions

specialised-part cleaning agents

two-part detergent solutions

wide commercial range of alcoholic and non-alcoholic bar stock

organisational specifications and other documentation:

equipment manufacturer instructions

Australian standards that directly impact on cellar operations:

AS5034 Installation and use of inert gases for beverage dispensing

AS3780 The storage and handling of corrosive substances

Australia New Zealand Food Standards (ANZFS) Code or plain English documents issued by national, state or territory government regulators

SDS for hazardous substances used in cellars

current commercial policies and procedures used for the operation of cellars

industry manual or electronic stock control system.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors and have worked in industry for at least three years where they have applied the skills and knowledge of this unit of competency.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=68c40a93-e51d-4e0f-bc06-899dff092694