# SUGPFSC2A Operate a fuel supply system - coal

Revision Number: 1

SUGPFSC2A Operate a fuel supply system - coal

# Modification History

Not applicable.

# Unit Descriptor

Unit descriptor

This is a Specialist unit. It refers to the operation of a coal fuel system and related auxillary fuel system to supply a boiler.

# Application of the Unit

Not applicable.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

Not applicable.

# Elements and Performance Criteria Pre-Content

Not applicable.

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| 1. Prepare the fuel supply system for operation | 1.1 Pre-operational checks are conducted 1.2 Health and safety hazards are identified and controlled 1.3 Maintenance requirements are identified and reported according to workplace reporting procedure 1.4 Primary and auxiliary fuel is available to meet combustion requirements 1.5 Services are confirmed as available and ready for operation |
| 2. Start and monitor operation of the fuel supply system | 2.1 The fuel supply system is operated within limits of manufacturer's specifications to meet workplace requirements 2.2 The fuel supply system is monitored to confirm performance is maintained within manufacturer's specifications to meet workplace requirements 2.3 The workplace meets housekeeping standards |
| 3. Analyse and respond to abnormal performance | 3.1 System operating conditions are monitored to identify causes of abnormal performance 3.2 Corrective action is taken in accordance with workplace procedures in response to Hazards and abnormal plant performance 3.3 Emergency procedures are implemented as required according to workplace procedures and manufacturer's recommendations |
| 4. Handover fuel system operations | 4.1 Workplace records are maintained in accordance with workplace procedures 4.2 Handover is carried out according to workplace procedure 4.3 Fuel system operators are aware of system and related equipment status at completion of handover |
| 5. Shutdown the fuel supply system | 5.1 The fuel supply system is shut down according to workplace procedures and manufacturer's recommendations 5.2 The fuel supply system is prepared for storage in shut down mode 5.3 Maintenance requirements are identified and reported according to workplace reporting procedure 5.4 Fuel is stored to meet fuel requirements and workplace standards |

# Required Skills and Knowledge

Not applicable.

# Evidence Guide

Evidence guide

The assessment process must address all of the following items of evidence.

Ability to:

1.	Access workplace information fuel supply requirements

2.	Select, fit and use personal protective clothing and/or equipment

3.	Confirm status of fuel supply system and related services. This may include confirming availability of auxiliary fuel

4.	Conduct pre-start checks

5.	Demonstrate set up and start up procedures in both manual and automatic modes and starting for normal operation and after emergency stops

6.	Monitor fuel supply system operation. This typically includes monitoring:

fuel levels

temperature

coal system - may include shake times, blow pressure and fuel moisture levels

ash systems

fuel oil pressure (on auxiliary system)

7.	Take corrective action in response to abnormal or unacceptable performance

8.	Demonstrate procedure for test firing burners

9.	Demonstrate procedure for removing, inspecting, cleaning and replacing oil burners. This involves use of go/no go gauges on atomising tips

10.	Demonstrate procedure for clearing fuel blockages or chokes throughout the system

11.	Report and/or record corrective action as required

12.	Demonstrate shift handover procedure and confirm that replacement operators are aware of equipment status and operating requirements prior to completing handover

13.	Demonstrate procedure to take fuel supply system off-line

14.	Demonstrate emergency procedures including operation of auxiliary/emergency fuel supply system

15.	Record operating information

16.	Maintain work area to meet housekeeping standards

May include ability to:

17.	Use process control systems

Knowledge of:

18.	Relevant state OHS legislation, standards and codes of practice relating to work responsibilities

19.	Safe work procedures including awareness of health and safety hazards related to operation of fuel supply system and associated control measures. Hazards typically include working with moving equipment, working on platforms, risk of fire associated with hot work and spontaneous combustion

20.	Hierarchy of hazard control measures

21.	Purpose and limitations of protective clothing and equipment

22.	Principles of flame management systems. This includes understanding of when and how to purge boiler before relighting in a flame out situation

23.	The amount of caustic addition for each ton of coal burnt

24.	Purpose and operation of auxiliary fuel supply

25.	Functions and basic operating principles of fuel supply system, components and auxiliary equipment

26.	Operating requirements and parameters

27.	Supply system layout

28.	The effect of fuel quality and supply on boiler operation

29.	Relationship between fuel supply system and other processes

30.	Methods used to render equipment safe to inspect, maintain and/or clean including lock-out, tag-out and isolation procedures

31.	Procedures for responding to emergency situations. This includes emergency shutdown procedure

32.	Handover and long term shut down and storage procedures

33.	Fuel storage requirements

34.	Fuel reclamation options and procedures as appropriate for the workplace and fuel type

35.	Environmental issues and controls

36.	Requirements to liaise/advise related work areas

37.	Housekeeping standards for the work area

38.	Reporting and recording systems

May include knowledge of:

39.	Basic operating principles of process control where relevant. This includes the relationship between control panels and systems and the physical equipment

Relationship with other standards

Pre-requisite units

There are no pre-requisite units for this competency standard.

Co-assessment of related units

Where the operator is required to operate a boiler, select the appropriate boiler operation unit.

Other units of competency relevant to the work role should be assessed in conjunction with this unit. This may include:

SUGZPCI2A Operate a process control interface

Resources required for assessment

Assessment must occur in a real or simulated workplace where the assessee has access to:

Coal fuel supply system and related equipment

Relevant codes and standards

Operating procedures and related advice on equipment operation

Personal protective clothing and equipment

Communication systems and equipment

Housekeeping standards and procedures

Workplace information recording systems, requirements and procedures

Assessment requirements

For information on how to assess this competency standard and who can assess, refer to the Assessment Guidelines for this Training Package.

# Range Statement

Range statement

The range statement indicates the context for demonstrating competence. This statement is a guide and unless otherwise indicated, items may or may not apply as required by the work context.

Work is carried out in accordance with company policies and procedures, licensing requirements, manufacturer's recommendations, legislative requirements, codes of practice and industrial awards and agreements. Codes of practice include the Sugar Milling Operations Industry Code of Practice

Workplace information can include Standard Operating Procedures (SOPs) and manufacturer's specifications

Auxiliary fuel supply system is typically an oil system

Equipment components and auxiliary equipment may include fuel supply storage, conveyor systems, fines separation

This unit applies to both continuous and short term operation and requires demonstration of start up and shut down procedures after a prolonged break

Operation and monitoring of equipment and processes typically requires the use of control panels and systems

Confirming equipment status involves conducting relevant pre-start checks, confirming that housekeeping standards are met, all safety guards are in place and equipment is operational

Work may require the ability to work within a team environment

Information systems may be print or screen based

# Unit Sector(s)

Not applicable.