# Assessment Requirements for TLIB1030 Undertake general site maintenance

Release: 1

Assessment Requirements for TLIB1030 Undertake general site maintenance

# Modification History

Release 1. This is the first release of this unit of competency in the TLI Transport and Logistics Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

applying precautions and required action to minimise, control or eliminate hazards that may exist during work activities applying relevant legislation and workplace procedures communicating and working effectively with others when carrying out general site maintenance completing documentation related to general site maintenance identifying and organising resources required for work activities implementing contingency plans and modifying activities depending on operational contingencies, risk situations and environments that may occur when carrying out general site maintenance monitoring and prioritising work activities in terms of planned schedule operating and adapting to differences in equipment in accordance with standard operating procedures operating electronic communication equipment to required protocol reading, interpreting and following instructions, procedures, information, labels and signs relevant to general site maintenance selecting and using required personal protective equipment conforming to industry and work health and safety (WHS)/occupational health and safety (OHS) standards using hand tools and minor plant working systematically with required attention to detail without injury to self or others, or damage to goods or equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

characteristics of plant and equipment, transport, structures, hardware and electrical components used in work activities contents of workplace technical manuals and instructions relating to the work activities concerned hazardous chemicals used in general site maintenance, and related precautions and personal protection measures hazards that may exist during site maintenance activities and ways of controlling the risks involved impact on work activities of regulatory requirements problems that may occur during site maintenance activities, and action that can be taken to report or resolve these problems relevant WHS/OHS and environmental procedures and regulations relevant recording and documentation procedures relevant sections of applicable regulatory requirements workplace documentation and records system management related to the work concerned workplace procedures for general site maintenance.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations, current at the time of assessment.

As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations, current at the time of assessment.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment include:

a range of relevant exercises, case studies and/or other simulations

relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry

applicable documentation including workplace procedures, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=df441c6e-213d-43e3-874c-0b3f7036d851