# Assessment Requirements for TLIB2086 Apply awareness of structures fundamentals

Release: 2

Assessment Requirements for TLIB2086 Apply awareness of structures fundamentals

# Modification History

Release 2. This is the second release of this unit of competency in the TLI Transport and Logistics Training Package: Minor statement changes in Assessment Conditions.

Release 1. This is the first release of this unit of competency in the TLI Transport and Logistics Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include: applying relevant workplace procedures following operational instructions and work sequences when locating defects in structures identifying job hazards and required action to minimise, control or eliminate identified hazards reading and interpreting relevant instructions, procedures, information, technical data, standards and drawings selecting equipment for a basic structure inspection undertaking a basic structures inspection.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of: defect categories/types convention fundamentals of structure types hazards that may exist when locating defects in structures and ways of controlling the risks involved problems that may occur when locating defects in structures and action that can be taken to report or resolve these problems relevant rail danger zones relevant work health and safety (WHS)/occupational health and safety (OHS) and environmental procedures and regulations structures components structures terminology and conventions types of structures defects workplace procedures for locating defects in structures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations or, where this is not available, in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation including workplace procedures, regulations, rail industry standards, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=df441c6e-213d-43e3-874c-0b3f7036d851