# TLIX0027 Work safely at a fuel storage and dispensing site

Release: 1

TLIX0027 Work safely at a fuel storage and dispensing site

# Modification History

Release 1. This is the first release of this unit of competency in the TLI Transport and Logistics Training Package.

# Application

This unit relates to the minimum safety requirements for contractors working on or near a fuel storage and dispensing site. It includes working safely, identifying hazards and applying mitigation strategies, complying with relevant regulations, applying workplace policies and procedures, and applying relevant environmental protection requirements. The unit applies to work at sites which store and dispense diesel and motor spirit (petrol), including ethanol blends. It excludes major hazard facilities and bulk transfer terminals. This unit is appropriate for any contractor working on or near fuel storage and dispensing infrastructure. Work is performed under some supervision generally within a team environment Licensing, legislative or certification requirements that apply to this unit may vary between jurisdictions and should be checked prior to commencing the unit.

# Pre-requisite Unit

Not applicable

# Competency Field

Not applicable

# Unit Sector

Not applicable

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to work at a site where fuel is stored and dispensed | 1.1 | Work instructions are accessed, interpreted and clarified with relevant people in accordance with workplace procedures |
|  |  | 1.2 | Workplace documentation, site-specific requirements, industry standards and regulatory requirements are accessed and interpreted |
|  |  | 1.3 | Site conditions are determined, evaluated and accommodated in work plan |
|  |  | 1.4 | Authorisations, licences or permits required for work are identified and obtained by relevant personnel |
|  |  | 1.5 | Tools, equipment and personal protective equipment (PPE) required for work plan are identified and arranged |
|  |  | 1.6 | Individual competency is reviewed against job requirements and any required support identified |
| 2 | Prepare to work at a site where fuel is stored and dispensed | 2.1 | Work requirements are confirmed, and activities coordinated with site supervisor and others at the site |
|  |  | 2.2 | Site safety, emergency response and first aid procedures are identified and implemented |
|  |  | 2.3 | Site is inspected, risks assessed, and controls determined |
|  |  | 2.4 | Worksite is set up and all required pre-work tests and checks are conducted |
| 3 | Work at a site where fuel is stored and dispensed | 3.1 | Risk controls, safety measures and monitoring requirements are implemented |
|  |  | 3.2 | Work is conducted in accordance with permit or authorisation |
|  |  | 3.3 | Work is conducted in accordance with work instructions, specifications, industry standards and codes of practice |
|  |  | 3.4 | Changes in site conditions are monitored and responded to as required |
| 4 | Complete work at a site where fuel is stored and dispensed | 4.1 | Post-work checks and testing are completed |
|  |  | 4.2 | Post-work housekeeping is completed |
|  |  | 4.3 | Post-work documentation and reporting is completed |
|  |  | 4.4 | Handover back to site owner is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions can be found in TLI Transport and Logistics Training Package Companion Volume Implementation Guide. This unit must be demonstrated at site/s which store and dispense diesel and motor spirit (petrol), including ethanol blends; excluding major hazard facilities and bulk transfer terminals.

# Unit Mapping Information

This is a new unit. No equivalent unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=df441c6e-213d-43e3-874c-0b3f7036d851

Assessment Requirements for TLIX0027 Work safely at a fuel storage and dispensing site

# Modification History

Release 1. This is the first release of this unit of competency in the TLI Transport and Logistics Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

communicating with relevant personnel to obtain and confirm work requirements, and coordinate work identifying, locating and interpreting relevant information to ensure work plan meets requirements and is compliant with industry standards, codes of practice and regulations identifying and implementing relevant workplace procedures and safety requirements reviewing site conditions, assessing risks and implementing and monitoring controls identifying the location, function and procedures for use of Emergency Stop Buttons obtaining required authorisations and/or permits reviewing individual competency against job requirements to determine any support required identified arranging, transporting, checking and setting up required tools and equipment in accordance with workplace procedures undertaking work in accordance with manufacturer/supplier specifications and site requirements checking for potential environmental hazards and risks and implementing controls.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

relevant organisational, workplace and industry documentation relevant industry standards and codes of practice, and their application relevant industry regulation including permit types techniques for monitoring and responding to changing site conditions safety requirements, including: first aid and emergency procedures job safety analysis (JSA), safe work procedures (SWP) and safe work method statements (SWMS) measuring risk and assigning risk levels hierarchy of risk control safety data sheets (SDS)/material safety data sheets (MSDS) and hazardous substance registers and their use personal protective equipment (PPE) different fuel types and their associated hazards fuel and vapour ignition sources location, function and use of Emergency Stop Buttons fire protection, extinguisher types and their use environmental protection and the identification and control of environmental risks site-specific hazardous areas/zones and determining minimum distances requirements for: working in different weather conditions working in confined spaces working at heights traffic management lock-out/tag-out procedures isolations site signage atmosphere testing spill management ‘in-date’ inspection tags dealing with local emergency services tool and equipment checks approved contractor certification/licencing relevant workplace documentation requirements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures, sample work permits and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=df441c6e-213d-43e3-874c-0b3f7036d851