# Assessment Requirements for UEECD0002 Analyse static and dynamic parameters of electrical equipment

Release: 1

Assessment Requirements for UEECD0002 Analyse static and dynamic parameters of electrical equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing machine parameters applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures dealing with unplanned events in accordance with problem-solving techniques and workplace procedures documenting and reporting results of the analysis of static and dynamic parameters of machines documenting instructions for implementing any actions resulting from the analysis forming effective strategies for analysing machine performance obtaining machine parameters, specifications and performance requirements preparing to analyse static and dynamic parameters of machinery testing the results of the analysis.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

function of mechanical parts and components problem-solving techniques relevant analysis testing methods relevant development and implementation strategies relevant industry standards relevant machine parameters, specifications and performance requirements relevant manufacturer specifications and operating instructions relevant job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace quality, instructions, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, facilities, tools and equipment currently used in industry resources that reflect current industry practices in relation to analysing static and dynamic parameters of equipment applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6