# UEECD0002 Analyse static and dynamic parameters of electrical equipment

Release: 1

UEECD0002 Analyse static and dynamic parameters of electrical equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to analyse static and dynamic parameters of electrical equipment. It includes preparing and analysing static and dynamic parameters. It also includes documenting and reporting the analysis. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to analyse static and dynamic parameters | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures in preparation for the work are followed |
|  |  | 1.3 | Machine analysis is determined from performance specifications and/or reports and in consultation with relevant person/s |
|  |  | 1.4 | Activities are planned in accordance with workplace procedures for timelines in consultation with others involved |
|  |  | 1.5 | Strategies are identified, developed and implemented |
| 2 | Analyse parameters | 2.1 | WHS/OHS risk control work measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Statics and dynamics are applied to developing analytical solutions to machine parameters |
|  |  | 2.3 | Parameters, specifications and performance requirements of the machine/s are obtained in accordance with workplace procedures |
|  |  | 2.4 | Machine parameters are analysed in accordance with workplace procedures |
|  |  | 2.5 | Unplanned events are responded to in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.6 | Quality of work is monitored in accordance with workplace procedures and/or relevant industry standards |
| 3 | Document and report results of the analysis | 3.1 | Solutions to machine analysis are tested and modified as required in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 3.2 | Analysis of findings, calculations and assumptions are documented in accordance with workplace procedures |
|  |  | 3.3 | Analysis is reported to relevant person/s for action |
|  |  | 3.4 | Justification and instruction for actions are documented in work and/or development records in accordance with relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package. Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE161A Analyse static and dynamic parameters of electrical equipment.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEECD0002 Analyse static and dynamic parameters of electrical equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing machine parameters applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures dealing with unplanned events in accordance with problem-solving techniques and workplace procedures documenting and reporting results of the analysis of static and dynamic parameters of machines documenting instructions for implementing any actions resulting from the analysis forming effective strategies for analysing machine performance obtaining machine parameters, specifications and performance requirements preparing to analyse static and dynamic parameters of machinery testing the results of the analysis.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

function of mechanical parts and components problem-solving techniques relevant analysis testing methods relevant development and implementation strategies relevant industry standards relevant machine parameters, specifications and performance requirements relevant manufacturer specifications and operating instructions relevant job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace quality, instructions, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, facilities, tools and equipment currently used in industry resources that reflect current industry practices in relation to analysing static and dynamic parameters of equipment applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6