# UEECD0012 Contribute to risk management in electrotechnology systems

Release: 1

UEECD0012 Contribute to risk management in electrotechnology systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to contribute to risk management in electrotechnology systems. It includes contributing to the identification of electrotechnology systems risks and risk events, the likelihood and consequences of events, evaluating risk, risk management planning and mitigation of risk. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Contribute to the identification of risks and development of management strategies | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of program or project is identified from design brief specification and/or relevant documentation and in consultation with relevant person/s |
|  |  | 1.3 | Potential, perceived and actual risk events in electrotechnology systems risks are identified for contribution, documented and analysed in consultation with relevant person/s in accordance with workplace procedures |
|  |  | 1.4 | Risk management methods, tools and techniques are used in the analysis and documentation of identified risk events |
|  |  | 1.5 | Risk management techniques are used to analyse electrotechnology systems risks and risk events, options are assessed and risk approaches recommended to relevant person/s for approval |
|  |  | 1.6 | Draft risk management processes and workplace procedures are developed and communicated with stakeholders for the management of risk factors |
|  |  | 1.7 | Risk management processes and workplace procedures are submitted to relevant person/s for approval in accordance with workplace procedures |
|  |  | 1.8 | WHS/OHS risk control measures are submitted for incorporation in risk management strategies in accordance with workplace procedures and relevant industry standards |
| 2 | Contribute to the implementation and monitoring of risk management strategies | 2.1 | Risk management processes and workplace procedures are produced for incorporation into work and project plans to ensure outcomes are achieved |
|  |  | 2.2 | Activities are monitored to identify variations and responses are submitted to relevant person/s for approval in accordance with risk management processes and workplace procedures |
|  |  | 2.3 | Agreed risk responses are revised for implementation contribution and plans modified to reflect changing project objectives in accordance with risk management processes and workplace procedures |
| 3 | Contribute to the evaluation of risk management strategies | 3.1 | Project outcomes are reviewed for contribution with relevant person/s to determine effectiveness of risk management processes in accordance with workplace procedures |
|  |  | 3.2 | Risk issues and recommended improvements are identified, documented and submitted to relevant person/s for approval to be incorporated into ongoing and/or future program, project or plans |
|  |  | 3.3 | Outcomes are documented in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE078B Contribute to risk management in electrotechnology systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6