# Assessment Requirements for UEECD0013 Develop and implement energy sector maintenance programs

Release: 1

Assessment Requirements for UEECD0013 Develop and implement energy sector maintenance programs

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: using risk control measures determining the maintenance program from specifications and relevant person/s developing a maintenance record system developing maintenance schedule implementation procedures developing maintenance program and evaluation procedures documenting the maintenance program identifying the level and frequency of repair/replacement maintenance preparing maintenance requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

relevant equipment relevant industry standards relevant maintenance principles relevant maintenance systems maintenance plan relevant manufacturer specifications and operating instructions relevant plant performance specifications relevant review of maintenance plan relevant job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation, including: periodic and sample inspection reports relevant workplace quality, instructions, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, facilities, tools and equipment currently used in industry resources that reflect current industry practices in relation to developing and implementing maintenance programs applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6