# UEECD0021 Identify and select components, accessories and materials for energy sector work activities

Release: 1

UEECD0021 Identify and select components, accessories and materials for energy sector work activities

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to identify and select components, accessories and materials for energy sector work activities. It includes identifying, selecting and confirming components, accessories and materials for energy sector work activity selection. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0009 Carry out routine work activities in an energy sector environment

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify components, accessories and materials | 1.1 | Work instructions for selecting components, accessories and materials are obtained and confirmed |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) policies and workplace procedures are communicated, confirmed and applied |
|  |  | 1.3 | Tools, equipment and personal protective equipment (PPE) are identified, checked and are safe to use in accordance with workplace procedures |
|  |  | 1.4 | Relevant person/s is consulted to ensure the work is coordinated effectively with others |
|  |  | 1.5 | Resources and materials required for work activity are confirmed, scheduled and obtained in accordance with workplace procedures |
| 2 | Select components, accessories and materials | 2.1 | WHS/OHS policies and workplace procedures and safe work practices are followed |
|  |  | 2.2 | Schedule of work for selecting components, accessories and materials are followed to ensure work is completed in accordance with agreed timelines, quality standard and with a minimum of waste using appropriate technology |
|  |  | 2.3 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.4 | Quality checks of work are undertaken in accordance with work instructions and job requirements |
| 3 | Confirm components and materials selection | 3.1 | Checks are made to ensure selection of components, accessories and materials are in accordance with work instructions |
|  |  | 3.2 | Relevant person/s is notified of completion of the selection process |
|  |  | 3.3 | Tools, equipment, surplus resources and materials are cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.4 | Work area is cleaned, made safe and sustainable energy practices are followed |
|  |  | 3.5 | Workplace record/s are updated in accordance with work instructions and workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Identifying and selecting components/accessories/materials for energy sector work activities must relate to at least one of the following disciplines: | appliances business equipment computers data communications electrical electrical machines electronics fire protection instrumentation refrigeration and air conditioning renewable/sustainable energy security technology |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE179A Identify and select components, accessories and materials for energy sector work activities.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6