# UEECD0025 Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits

Release: 1

UEECD0025 Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits. It includes preparing to lay, laying wiring/cabling and connecting accessories for ELV circuits. It also includes completing and reporting work activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to lay wiring/cabling and connect accessories for ELV circuits | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures are identified and applied |
|  |  | 1.2 | Hazards are identified, risks are assessed and control measures are implemented |
|  |  | 1.3 | Safety hazards not previously identified are reported on job safety assessment and advice on risk control measures is sought from the work supervisor |
|  |  | 1.4 | Location of work is obtained from relevant person/s to determine scope of work |
|  |  | 1.5 | Advice is sought from relevant person/s to ensure work is coordinated with others |
|  |  | 1.6 | Sources of materials required for work are determined in accordance with workplace procedures |
|  |  | 1.7 | Tools, equipment and testing devices required for work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Lay wiring/cabling and connect accessories for ELV circuits | 2.1 | WHS/OHS workplace risk control measures for carrying out the work are followed |
|  |  | 2.2 | Circuits/machines/plant are checked as isolated in accordance with workplace procedures |
|  |  | 2.3 | Wiring and accessories are installed to comply with industry standards and job specifications with sufficient excess to affect terminations |
|  |  | 2.4 | Accessories are installed straight and square in the required locations and within acceptable tolerances |
|  |  | 2.5 | Cables and conductors are terminated at accessories in accordance with manufacturer specifications and relevant industry standards |
|  |  | 2.6 | Cables installed for future service are marked and terminated in compliance with relevant industry standards and workplace procedures |
|  |  | 2.7 | Unplanned events are responded to in accordance with workplace procedures and approval of immediate supervisor |
|  |  | 2.8 | Cable installation and termination is carried out without wasting materials, damaging apparatus, circuits or the surrounding environment using sustainable energy practices |
| 3 | Complete and report work activity | 3.1 | WHS/OHS completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Work completion is documented and relevant person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Laying wiring/cabling and connecting accessories for ELV power and control cabling systems circuits must include: | at least one of the following wiring/cabling systems: unenclosed thermoplastic sheathed (TPS) cable enclosed thermoplastic insulated (TPI) or sheathed cables at least three of the following wiring/cabling systems: single cable flexible cable flexible cord shielded cable ribbon cable other similar and like cable |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE108A Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6