# UEECD0035 Provide basic instruction in the use of electrotechnology apparatus

Release: 1

UEECD0035 Provide basic instruction in the use of electrotechnology apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to instruct customers/users in the use of electrotechnology apparatus. It includes appropriate customer relations, using apparatus manufacturer instruction material, instructing methods and completing instruction documentation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to instruct in the use of electrotechnology apparatus | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | Hazards are identified, risks are assessed and control measures are implemented |
|  |  | 1.3 | Electrotechnology apparatus on which user is to be instructed is confirmed with work supervisor and/or relevant person/s |
|  |  | 1.4 | Safety features and safe use of the electrotechnology apparatus are reviewed in accordance with manufacturer instructions |
|  |  | 1.5 | Familiarity with the electrotechnology apparatus is gained by reference to manufacturer user instructions and applying them during a preliminary practice run through |
|  |  | 1.6 | Materials required to instruct users in the use of electrotechnology apparatus are obtained in accordance with workplace procedures |
| 2 | Instruct user in the use of electrotechnology apparatus | 2.1 | Users are informed of safety features and safe use of electrotechnology apparatus in accordance with manufacturer instructions, regulatory requirements and safe work methods |
|  |  | 2.2 | Users are instructed in the set up and use of the electrotechnology apparatus in accordance with manufacturer instructions |
|  |  | 2.3 | Users are given the opportunity to ask questions and demonstrate they understand the safety aspects, set-up features and operation of the electrotechnology apparatus |
|  |  | 2.4 | Manufacturer user instructions and other related electrotechnology apparatus documentation are given to the appropriate person/s |
|  |  | 2.5 | Unplanned events are referred to supervisor for direction in accordance with workplace procedures |
|  |  | 2.6 | Instructions are given efficiently, without damage to electrotechnology apparatus, the surrounding environment or services using sustainable energy practices |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Demonstration of unit must include: | providing instruction relevant to electrotechnology apparatus and its control |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE020B Provide basic instruction in the use of electrotechnology apparatus.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6