# UEECD0041 Solve electrotechnical engineering problems

Release: 1

UEECD0041 Solve electrotechnical engineering problems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to solve electrotechnical engineering problems. It includes working safely, applying problem-solving techniques, using a range of mathematical processes and techniques to provide solutions to electrotechnical problems, and documenting solutions. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Provide calculated solutions to electrotechnical engineering problems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are obtained and applied |
|  |  | 1.2 | Scope of the problems are obtained from documentation and/or from work supervisor to determine work to be undertaken |
|  |  | 1.3 | Problems are stated in writing and/or diagrammatic form to ensure they are identified, and relevant methods used to resolve them |
|  |  | 1.4 | Constants and variables related to the problem are obtained from measured values and/or problem documentation |
|  |  | 1.5 | Alternative methods for resolving the problem are considered and, as required, discussed with relevant person/s |
|  |  | 1.6 | Problems are solved using relevant mathematical processes and techniques within relevant industry standards |
| 2 | Complete work and document calculated solutions to electrotechnical activities | 2.1 | Justification for solutions used to solve electrotechnical engineering problems is documented in work/project development records in accordance with relevant industry standards |
|  |  | 2.2 | Work completion is documented and relevant person/s notified |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE129A Solve electrotechnical engineering problems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6