# UEECD0042 Solve problems in ELV single path circuits

Release: 1

UEECD0042 Solve problems in ELV single path circuits

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to provide solutions to predictable problems in single path circuits operated at extra-low voltage (ELV) as they apply to energy sector work functions. It includes working safely; using voltage, current and resistance measuring devices; and providing solutions to predictable circuit problems. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to work on ELV single path electrical circuits | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for the relevant work area are identified and applied |
|  |  | 1.2 | Hazards are identified, risks are assessed, and control measures and workplace procedures are implemented |
|  |  | 1.3 | Nature of the circuit/s problem is obtained from relevant documentation or work supervisor to determine the scope of work to be undertaken |
|  |  | 1.4 | Advice is sought from work supervisor to ensure work is coordinated effectively with others |
|  |  | 1.5 | Materials required for the work are identified and accessed in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices required for work are obtained and checked for correct operation and safety in accordance with workplace procedures |
| 2 | Solve ELV single path electrical circuits problem | 2.1 | WHS/OHS risk control work measures and procedures are followed |
|  |  | 2.2 | Need to test or measure live electrical work is determined and conducted in accordance with WHS/OHS, workplace and regulatory requirements |
|  |  | 2.3 | Circuits are confirmed as being isolated, as required, in accordance with WHS/OHS, workplace and regulatory requirements |
|  |  | 2.4 | Methodological techniques are used to solve circuit problems using measured and calculated values as they apply to single path, single source circuits in accordance with workplace procedures |
|  |  | 2.5 | Problems are solved without damage to apparatus, circuits, the surrounding environment or services using sustainable energy practices |
| 3 | Complete work and document problem-solving activity | 3.1 | WHS/OHS risk control measures for work completion are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Justification for solutions used to solve circuit problems is documented in accordance with workplace procedures |
|  |  | 3.4 | Work completion is documented and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Solving problems in ELV single path circuits must include three of the following types of circuit problems: | identifying and locating open circuits identifying and locating short circuits identifying loss of supply |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE103A Solve problems in ELV single path circuits.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6