# UEECD0046 Solve problems in single path circuits

Release: 1

UEECD0046 Solve problems in single path circuits

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to solve problems in single path circuits. It includes working safely; applying problem-solving procedures, including the use of basic voltage, current and resistance measuring devices; and providing known solutions to predictable circuit problems. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to work on single path electrical circuits | 1.1 | Scope of work to be undertaken is determined from relevant documentation, electrical drawings or relevant person/s |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.3 | Electrical hazards are identified, risks are assessed, and control measures are implemented |
|  |  | 1.4 | Advice is sought from the relevant person/s to ensure the work is coordinated effectively with others |
|  |  | 1.5 | Materials required for work are identified and accessed in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices needed to carry out work are obtained and checked for correct operation and safety |
| 2 | Solve problems in single path electrical circuits | 2.1 | The need to test or measure live electrical work is determined in accordance with WHS/OHS requirements and, when necessary, conducted in accordance with workplace procedures |
|  |  | 2.2 | Circuits are checked as isolated in accordance with workplace procedures and regulatory requirements |
|  |  | 2.3 | Expected circuit parameters are calculated from relevant component ratings/specifications |
|  |  | 2.4 | Circuit parameters are measured in accordance with industry standards and checked against expected values |
|  |  | 2.5 | Circuit problems are assessed using measured and calculated values as they apply to single path, single source circuits |
|  |  | 2.6 | Circuit solutions are determined from measured and calculated values of resistance, voltage, current, and power in single path circuits |
|  |  | 2.7 | Solutions are tested in accordance with workplace procedures and industry standards |
|  |  | 2.8 | Problems are resolved without damage to equipment, circuits, the surrounding environment or services using sustainable energy practices |
|  |  | 2.9 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
| 3 | Complete work and document problem solving activities | 3.1 | WHS/OHS work completion risk control measures and procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Justification for solutions used to solve circuit problems is documented |
|  |  | 3.4 | Work completion is documented, and relevant personnel are notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Installation, fault finding, maintenance or development work functions of single source series circuits containing more than one load must be demonstrated in one of the following disciplines: | computers data communications electrical electronics fire protection instrumentation refrigeration and air conditioning renewable and sustainable energy systems security technology |

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6