# UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications

Release: 1

UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to use drawings, diagrams, cable schedules, industry standards, codes of practice and specifications as they apply to various electrotechnology work functions. It includes interpreting schematic, wiring and mechanical diagrams, equipment and cable/connection schedules and manuals; and the use and format of compliance standards, codes and job specifications used in the electrotechnology industry. It also includes the use of site and architectural drawings/plans to show the location of services, apparatus, plant and machinery. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to use drawings, diagrams, schedules and manuals | 1.1 | Hazards are identified, risks are assessed and control measures are implemented |
|  |  | 1.2 | Need for drawings, diagrams, schedules or manuals is determined from the nature of work to be undertaken |
|  |  | 1.3 | Relevant drawings, diagrams, site plans and cable/connection schedules or manuals required for the work to be undertaken are determined and obtained in accordance with workplace procedures |
| 2 | Use drawings, diagrams, schedules and manuals to obtain job information | 2.1 | Drawings, diagrams and cable/connection schedules are interpreted using drawing layouts, conventions and symbols |
|  |  | 2.2 | Dimensions are extracted from drawings and diagrams in accordance with workplace procedures for application to the work to be undertaken |
|  |  | 2.3 | Location of equipment is determined from equipment cable/connection schedules and location diagrams |
|  |  | 2.4 | Information relating to work to be undertaken is located and interpreted from relevant cable/connection manuals in accordance with workplace procedures |
| 3 | Use drawings, diagrams, schedules and manuals to convey information and ideas | 3.1 | Drawing conventions are applied in neat and legible freehand drawings to convey information and ideas to person/s involved in the work to be undertaken |
|  |  | 3.2 | Drawing conventions are used to neatly correct freehand original job drawing to show final ‘as-installed’ arrangement in accordance with workplace procedures |
|  |  | 3.3 | Corrected drawings are forwarded to appropriate person/s in accordance with workplace procedures |
| 4 | Comply with industry standards, codes of practice and specifications | 4.1 | Industry standards and codes of practice that specifically apply to relevant disciplines are obtained in accordance with workplace procedures |
|  |  | 4.2 | Format of industry standards and codes of practice that apply to relevant disciplines are reviewed and applied in accordance with workplace procedures |
|  |  | 4.3 | Purpose, format and content of job specifications are reviewed and applied |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Using drawings, diagrams, schedules, standards, codes and specifications must include: | assembly, installation, fault finding, maintenance or development work functions in the electrotechnology industry |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6