# UEECD0064 Interpret, produce and modify electrotechnology drawings

Release: 1

UEECD0064 Interpret, produce and modify electrotechnology drawings

# Modification History

Release 1. This is the first release of this unit of competency in the Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to interpret, produce and modify electrotechnology drawings. It includes interpreting circuit, wiring and mechanical diagrams, equipment and cable/connection schedules and manuals; producing and modifying a range of electrical drawings; and using computer drawing packages to produce and modify drawings. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Cross Discipline

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Interpret electrical drawings and diagrams | 1.1 | Type of drawings and diagrams is determined from the nature of work to be undertaken |
|  |  | 1.2 | Relevant drawings, diagrams, site plans and cable/connection schedules or manuals required for the work to be undertaken are determined and obtained |
|  |  | 1.3 | Drawings, diagrams and cable/connection schedules are interpreted using drawing layouts, conventions and symbols |
|  |  | 1.4 | Information is extracted from drawings and diagrams for application to the work to be undertaken |
|  |  | 1.5 | Technical data of system components is interpreted |
| 2 | Produce electrical drawings | 2.1 | Drawing conventions are applied in neat and legible freehand drawings to convey information and ideas relevant to the work to be undertaken |
|  |  | 2.2 | Correct drawing/diagram type is produced in accordance with job requirements |
|  |  | 2.3 | Technical data of system components to determine parameters is included in drawings |
|  |  | 2.4 | Drawings are checked for accuracy and compliance with requirements |
|  |  | 2.5 | Completed drawings are submitted to relevant person for review |
| 3 | Modify electrical drawings | 3.1 | Drawing conventions are used to modify drawings in accordance with requirements |
|  |  | 3.2 | Technical data of system components is modified in drawings |
|  |  | 3.3 | Modified drawings are checked for accuracy and compliance with requirements |
|  |  | 3.4 | Modified drawings are submitted to relevant person for review |
| 4 | Use computer drawing packages | 4.1 | Relevant computer drawing package software is used to produce drawings based on industry standard protocols |
|  |  | 4.2 | Relevant computer drawing package software is used to modify drawings based on industry standard protocols |
|  |  | 4.3 | Drawings are checked for accuracy and compliance with requirements |
|  |  | 4.4 | Completed drawings are stored in accordance with requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6